## 1 Summary
Retrofit Version 4.1 as of July 2025
Please fill out all applicable fields as indicated (white). Grey cells are locked when feasible and should not be edited.
Subject Property
Street Address:
City:
State:
Zip Code:
BBL (XX-XXXXX-XXXX)1:
Summary of Project Costs Associated with Proposed C-PACE Funded Project
Total C-PACE Costs included in SIR | 0
Total Eligible C-PACE Costs2 | 0
Summary of Financial Savings Associated with Proposed C-PACE Funded Project
| Before Project (Baseline) | After Project | Annual Savings | % Savings Over Baseline
Estimated Annual Energy Consumption
Electricity (kWh) | 0 | 0 | 0 | No change
Natural Gas (therms) | 0 | 0 | 0 | No change
#2 Fuel Oil (gallons) | 0 | 0 | 0 | No change
#4 Fuel Oil (gallons) | 0 | 0 | 0 | No change
District Steam (Mlbs) | 0 | 0 | 0 | No change
Total Energy (kBtu) | 0 | 0 | 0
Estimated Annual Energy Cost ($)
Electricity | 0 | 0 | 0 | No change
Natural Gas | 0 | 0 | 0 | No change
#2 Fuel Oil | 0 | 0 | 0 | No change
#4 Fuel Oil | 0 | 0 | 0 | No change
District Steam | 0 | 0 | 0 | No change
Total Energy Cost | 0 | 0 | 0
Additional Financial Benefits Quantified |  |  | 0
NYC Local Law 97 Implications
Projected Annual Penalty 2024 - 2029 |  | #VALUE! |  | #VALUE!
Projected Annual Penalty 2030 - 2034 |  | #VALUE! |  | #VALUE!
Projected Annual Penalty 2035-20393 |  | #VALUE! |  | #VALUE!
Projected Annual Penalty 2040 - 2049 |  | #VALUE! |  | #VALUE!
Projected Savings Summary after C-PACE Funded Project
Projected Annual Savings (energy cost savings and additional financial benefits) |  |  | 0
Projected Annual Savings 2024-2029 (including avoided fines under LL97) |  |  | 0
Projected Annual Savings 2030-2034 (including avoided fines under LL97) |  |  | 0
Projected Annual Savings 2035-2039 (including avoided fines under LL97) |  |  | 0
Projected Annual Savings 2040-2049 (including avoided fines under LL97) |  |  | 0
C-PACE ADMIN: The City of New York and NYCEEC (acting as Program Administrator and Paying Agent) make no representations or warranties with respect to any of the estimates or other information contained in this workbook.
1 C-PACE ADMIN: Search for the BBL on NYC ZOLA by searching by address: |  | https://zola.planning.nyc.gov/
2C-PACE ADMIN: Total Eligible C-PACE Costs and Unit Costs only reflect upfront costs (i.e., costs before incentives or tax credits for energy efficiency improvements).
3C-PACE ADMIN: Emissions coefficients past the 2030-2034 compliance period will be determined by the City at a later date. Penalties for 2035 and beyond are estimated based on values the City has already published for the prior compliance period and are highly variable and likely to change.
Note on B16: C-PACE ADMIN: Note that costs included in the SIR include eligible soft costs.
Note on B36: C-PACE Admin: Refers to 'other savings' (e.g., O&M savings) included in Savings Analysis Tab. Does not include LL97 Savings from avoided compliance costs. Also does not include social cost value of carbon.
Note on B44: C-PACE Admin: Does not include social cost value of carbon

## 2 TIPLA Summary
Summary Table for Truth In PACE Lending Acknowledgment (TIPLA) Form
All cells are locked.
ESTIMATED ENERGY AND COST SAVINGS
| Before Project (Baseline) | After Project | Savings | % Savings Over Baseline
Est. Annual Energy Consumption (kBtu) | 0 | 0 | 0
Est. Annual Energy Cost ($) | 0 | 0 | 0
Projected Financial Savings
$ Savings
Projected Annual Savings (energy cost savings and additional financial benefits) |  |  |  | 0
Projected Annual Savings 2024-2029 (also including avoided fines under LL97)1 |  |  |  | 0
Projected Annual Savings 2030-2034 (also including avoided fines under LL97) |  |  |  | 0
Projected Annual Savings 2035-2039 (also including avoided fines under LL97) |  |  |  | 0
Projected Annual Savings 2040-2049 (also including avoided fines under LL97) |  |  |  | 0
1 C-PACE ADMIN: Emissions coefficients past the 2030-2034 compliance period will be determined by the City at a later date. Penalties for 2035 and beyond are estimated based on values the City has already published for the prior compliance period and are highly variable and likely to change.

## 3 SIR
Tab calculates SIR. All cells are locked.
Maximum Loan Term (rounded to nearest tenth) |  | #DIV/0!
Year (from closing) |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49
Year (loan term) |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50
Escalator | bar: #DIV/0! 0 1 to #DIV/0! 49 50
Total Savings Included in SIR (includes savings from Prequalified Measures)
Annual Energy Savings |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Annual LL97 Savings |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Annual Social Cost Value | bar: #DIV/0! 0 1 to #DIV/0! 49 50
Annual Other Savings |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total Annual Savings |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
NPV | 3% | #DIV/0! 0 1: #DIV/0!
Total C-PACE Costs included in SIR |  | #DIV/0! 0 1: 0
Incremental Cost Approach - Incremental Costs |  | #DIV/0! 0 1: 0
Energy Efficiency Improvement |  | #DIV/0! 0 1: 0
Renewable Energy System |  | #DIV/0! 0 1: 0
Ancillary Measure – Required to Implement Energy Improvement |  | #DIV/0! 0 1: 0
Eligible Soft Cost |  | #DIV/0! 0 1: 0
SIR |  | #DIV/0! 0 1: N/A, all Prequalified
Total Eligible C-PACE Costs |  | #DIV/0! 0 1: 0
Incremental Cost Approach Measure |  | #DIV/0! 0 1: 0
Prequalified Measure |  | #DIV/0! 0 1: 0
Energy Efficiency Improvement |  | #DIV/0! 0 1: 0
Renewable Energy System |  | #DIV/0! 0 1: 0
Ancillary Measure – Energy-Related Health and Safety |  | #DIV/0! 0 1: 0
Ancillary Measure – Required to Implement Energy Improvement |  | #DIV/0! 0 1: 0
Eligible Soft Cost |  | #DIV/0! 0 1: 0
Note on B14: C-PACE Admin: Note that savings values exclude savings from Prequalified Measures.
Note on B22: C-PACE ADMIN: The SIR calculation includes Energy Efficiency Costs, Renewable Energy Costs, Eligible Soft Costs, Incremental Costs, and Ancillary Measures that are Required to Implement Energy Improvements. It does not include costs for Ancillary Measures for Energy-Related Health and Safety in the calculation per the NYSERDA Technical Guidance, though these costs can be included in the total C-PACE loan amount.
Note on B30: C-PACE ADMIN: The SIR must be equal to or greater than 1.0
Note on B32: C-PACE ADMIN: The Total Eligible C-PACE Costs includes Energy Efficiency Costs, Renewable Energy Costs, Eligible Soft Costs, Prequalified Measure Costs, the total of cost Incremental Cost Approach measures, and Ancillary Costs (both types).

## 4 Construction Scope
Please fill out all applicable fields as indicated (white).1 Grey cells are locked when feasible and should not be edited.
Is the retrofit is designed so the building is completely electrified according to local code and regulations? |  | No
Total C-PACE Costs included in SIR |  | 0
Total Ancillary Measure Costs – Energy-Related Health and Safety |  | 0
Ancillary Measure Costs – Required to Implement Energy Improvement |  | 0
Total Eligible C-PACE Costs |  | 0
Ancillary Measures %
Weighted Average Useful Life and Maximum Loan Term (yrs) |  | #DIV/0!
Estimated Construction Completion Year | [21 empty] | For energy efficiency measures that qualify for the Incremental Cost Approach, please enter Baseline Cost:
Construction Scope Measure |  | Measure Type | Prequalified Approach: Energy Efficiency Category | Prequalified Approach: Energy Efficiency Improvement | Incremental Cost Approach: Energy Efficiency Category | Incremental Cost Approach: Energy Efficiency Improvement | Energy Efficiency Category | Energy Efficiency Improvement | Reference to measure in Energy Audit | Renewable Energy System | Reference to Feasibility Study | Ancillary Measure Description2 | Eligible Soft Cost Description3 | Location in Building | Total Capacity | Unit of Capacity | Quantity | Unit of Measure | Unit Cost | Total Cost | Effective Useful Life4 | Total Cost of Baseline Improvement | Incremental Cost
Exactly as it appears in the construction bid |  | Choose one Guidance: When a measure is selected, required user-input fields will appear in white, while fields that are not required will appear in grey. | If applicable, choose one | If applicable, choose one | If applicable, choose one | If applicable, choose one | If applicable, choose one | If applicable, choose one | Measure number, name, or description | If applicable, choose one |  |  |  | Choose one | Specify size or capacity of measure or system | Specify unit | Number for cost per unit formula | Choose one |  |  | Number of years (no decimals) | Cost of a minimally code-compliant corresponding Baseline Improvement
1 | [19 empty] | 0
2 | [19 empty] | 0
3 | [19 empty] | 0
4 | [19 empty] | 0
5 | [19 empty] | 0
6 | [19 empty] | 0
7 | [19 empty] | 0
8 | [19 empty] | 0
9 | [19 empty] | 0
10 | [19 empty] | 0
11 | [19 empty] | 0
12 | [19 empty] | 0
13 | [19 empty] | 0
14 | [19 empty] | 0
15 | [19 empty] | 0
16 | [19 empty] | 0
17 | [19 empty] | 0
18 | [19 empty] | 0
19 | [19 empty] | 0
20 | [19 empty] | 0
21 | [19 empty] | 0
22 | [19 empty] | 0
23 | [19 empty] | 0
24 | [19 empty] | 0
25 | [19 empty] | 0
26 | [19 empty] | 0
27 | [19 empty] | 0
28 | [19 empty] | 0
29 | [19 empty] | 0
30 | [19 empty] | 0
31 | [19 empty] | 0
32 | [19 empty] | 0
33 | [19 empty] | 0
34 | [19 empty] | 0
35 | [19 empty] | 0
36 | [19 empty] | 0
37 | [19 empty] | 0
38 | [19 empty] | 0
39 | [19 empty] | 0
40 | [19 empty] | 0
41 | [19 empty] | 0
42 | [19 empty] | 0
43 | [19 empty] | 0
44 | [19 empty] | 0
45 | [19 empty] | 0
46 | [19 empty] | 0
47 | [19 empty] | 0
48 | [19 empty] | 0
49 | [19 empty] | 0
50 | [19 empty] | 0
| Totals | - |  |  |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | 0 | - | 0 | 0
1 C-PACE ADMIN: Please refer to the PACE Program Guidelines and Technical Guidance Supplement for more guidance on the completing the Technical Certification Workbook:
https://accelerator.nyc/resources/finance/PACE
2 C-PACE ADMIN: Ancillary Measures may include, but are not limited to mold mitigation, lead abatement, asbestos removal, flue repairs, repair of gas leaks, ventilation improvements, installation of smoke and carbon monoxide detectors and roof repairs. See the state guidance document and the NYC program Technical Guidance Supplement for more details:
https://www.nyserda.ny.gov/All-Programs/commercial-property-assessed-clean-energy
3 C-PACE ADMIN: Eligible Soft Costs may include, but are not limited to NYSERDA recognized energy audits and other pre-development work, such as improvement design work, are stand-alone PACE eligible measures provided that the proposed improvement(s) would comply with the technical standards set forth in these guidelines. As stand-alone PACE eligible measures, energy audits and other pre-development work may only have a finance term which does not exceed five years. See here for more details:
https://www.nyserda.ny.gov/All-Programs/commercial-property-assessed-clean-energy
4 C-PACE ADMIN: See New York State Technical Resource Manual (TRM):
https://dps.ny.gov/technical-resource-manual-trm
Note on C7: C-PACE ADMIN: Note that costs included in the SIR include eligible soft costs, ancillary measure costs required to implement energy efficiency improvements, costs of energy efficiency improvements, and costs of renewable energy systems. Prequalified Measure costs are excluded. For incremental cost approach measures, only the incremental costs are included in the SIR.
Note on B12: C-PACE ADMIN: The weighted average useful life is based on 2024-2029 Projected GHG Emissions Savings rates for each energy efficiency and renewable energy measure.
Note on Q15: C-PACE ADMIN: If no capacity put "N/A"
Note on U15: C-PACE ADMIN: Unit cost should reflect upfront costs (i.e., costs before incentives or tax credits for energy efficiency improvements.
Note on W15: C-PACE ADMIN: 1. Eligible Soft Cost should have an effective useful life of 5 years per NYSERDA guidance. 2. Effective Useful Life: For Energy Efficiency Improvements: Current New York State TRM (link below) or manufacturer's warranty or managed services contract length; Solar PV or Solar Thermal: manufacturer's warranty or managed services contract length; Combined Heat and Power: 10 years or managed services contract length; Battery storage: 10 years or managed services contract length; Fuel Cell: 10 years or managed services contract length.

## 5 Savings Analysis
Please fill out all applicable fields as indicated (white). Grey cells are locked.
[6 empty] | 2024 - 2029 |  | 2030 - 2034 |  | 2035-20391 |  | 2040 - 20491
Fuel Type |  | Unit | Annual Consumption | Utility Blended Rate | Annual Consumption | LL97 Emissions Coefficient | Annual Emissions | LL97 Emissions Coefficient | Annual Emissions | LL97 Emissions Coefficient | Annual Emissions | LL97 Emissions Coefficient | Annual Emissions
|  |  | Baseline | $/unit | kbtu | tCO2e/kWh or /kbtu | tCO2e |  | tCO2e |  | tCO2e |  | tCO2e
Electricity |  | kWh |  |  | 0 | 0.00028896 | 0 | 0.000145 | 0 | 0.000145 | 0 | 0.000145 | 0
Natural Gas |  | Therms |  |  | 0 | 5.311e-05 | 0 | 5.311e-05 | 0 | 5.311e-05 | 0 | 5.311e-05 | 0
#2 Fuel Oil |  | gal |  |  | 0 | 7.421e-05 | 0 | 7.421e-05 | 0 | 7.421e-05 | 0 | 7.421e-05 | 0
#4 Fuel Oil |  | gal |  |  | 0 | 7.529e-05 | 0 | 7.529e-05 | 0 | 7.529e-05 | 0 | 7.529e-05 | 0
District Steam |  | Mlbs |  |  | 0 | 4.493e-05 | 0 | 4.32e-05 | 0 | 4.32e-05 | 0 | 4.32e-05 | 0
Totals |  |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Totals net of Annual Projected Savings |  |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Is this Data Weather Normalized? (Y/N)
Annual Projected Savings Note: renewable energy systems’ electric or thermal generation should be included as savings
Construction Scope Measure Type |  |  | Assigned Measure Description |  | Total Cost | Total Savings | Simple Payback Period | Electricity | Natural Gas | #2 Fuel Oil | #4 Fuel Oil | District Steam | Total Projected Energy Savings | 2024-2029 Projected Emissions Savings | 2030-2034 Projected Emissions Savings | 2035-2039 Projected Emissions Savings | 2040-2049 Projected Emissions Savings | Projected Energy Cost Savings | Other Annual Savings2 | Other Savings Documentation
From tab 4 |  |  | From tab 4 |  | From tab 4 | $/year | years | kWh | Therms | gal | gal | Mlbs | kbtu | tCO2e |  |  |  | $ | $ | File name
1 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
2 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
3 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
4 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
5 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
6 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
7 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
8 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
9 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
10 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
11 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
12 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
13 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
14 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
15 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
16 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
17 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
18 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
19 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
20 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
21 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
22 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
23 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
24 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
25 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
26 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
27 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
28 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
29 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
30 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
31 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
32 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
33 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
34 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
35 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
36 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
37 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
38 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
39 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
40 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
41 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
42 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
43 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
44 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
45 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
46 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
47 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
48 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
49 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
50 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
| Totals |  |  |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[18 empty] | other savings, excl. from prequal measures | 0
1 C-PACE ADMIN: Emissions coefficients past the 2030-2034 compliance period will be determined by the City at a later date.
2 C-PACE ADMIN: Please refer to the NYSERDA Guidance for Calculating the Cost Benefit Ratio (CBR) on eligible savings that can be included in the Other Annual Savings.
https://www.nyserda.ny.gov/All-Programs/commercial-property-assessed-clean-energy
Note on E4: C-PACE ADMIN: Baseline usage set using average of the last three years. See Technical Supplement for additional information and notes.
Note on F4: C-PACE ADMIN: Blended rates are the are average of the last three years' = Ʃ(total billed $)/Ʃ(consumption)
Note on H4: C-PACE ADMIN: Electricity coefficient given as tons CO2e/kWh, whereas all other coefficients are given as /kbtu.
Note on E14: C-PACE ADMIN: This is requested for informational purposes of the C-PACE reviewer only. This information does not impact calculations in the workbook.
Note on J16: C-PACE ADMIN: Eligible Soft Costs and Ancillary Measures are not measures with eligible projected savings. Please note an error message will appear if trying to enter savings for the types of measures.

## 6 Local Law 97 Analysis
[6 empty] | Is this building(s) exempted from Local Law 97 compliance or subject to an alternative compliance pathway? (Y/N) 2 |  | No
Please fill out applicable fields in Column L as indicated (white). Grey cells are locked.
Local Law 97 - Summary of Projected Penalty Amounts and Savings1 | [5 empty] | Calculation of Local Law 97 Building Emissions Limits1,2 |  |  | 2024 - 2029 |  | 2030 - 2034 |  | 2035-2039 |  | 2040 - 2049
|  | Compliance Period |  |  |  | ESPM Property Type3 |  | Gross Floor Area | Annual Emissions Intensity Limit | Annual Building Emissions Limit | Annual Emissions Intensity Limit | Annual Building Emissions Limit | Annual Emissions Intensity Limit | Annual Building Emissions Limit | Annual Emissions Intensity Limit | Annual Building Emissions Limit
| Units | 2024 - 2029 | 2030 - 2034 | 2035-2039 | 2040 - 2049 |  |  | Square Feet (sf) | tCO2e/sf | tCO2e | tCO2e/sf | tCO2e | tCO2e/sf | tCO2e | tCO2e/sf | tCO2e
Building Emissions Limit | metric tons of CO2e | N/A | N/A | N/A | N/A |  | Adult Education |  | 0.00758 | 0 | 0.0035655 | 0 | 0.0026741 | 0 | 0.0017828 | 0
Penalty Rate for Emissions Greater than Limit | metric tons of CO2e/sf | 0 | 0 | 0 | 0 |  | Ambulatory Surgical Center |  | 0.01181 | 0 | 0.0089806 | 0 | 0.0067355 | 0 | 0.0044903 | 0
Existing Building | [6 empty] | Automobile Dealership |  | 0.00675 | 0 | 0.0028241 | 0 | 0.0021181 | 0 | 0.001412 | 0
Existing Annual Building Emissions | metric tons of CO2e | 0 | 0 | 0 | 0 |  | Bank Branch |  | 0.00987 | 0 | 0.0040362 | 0 | 0.0030271 | 0 | 0.0020181 | 0
Existing Annual Building Emissions Intensity | metric tons of CO2e/sf | N/A Below 25,000 Sf | N/A Below 25,000 Sf | N/A Below 25,000 Sf | N/A Below 25,000 Sf |  | Bowling Alley |  | 0.00574 | 0 | 0.0031038 | 0 | 0.0023279 | 0 | 0.0015519 | 0
Existing Building - Amount in Excess of Limit | metric tons of CO2e | [5 empty] | College/University |  | 0.00987 | 0 | 0.0020997 | 0 | 0.0012363 | 0 | 0.00018082 | 0
Existing Building - Projected Annual Penalty | $ | [5 empty] | Convenience Store without Gas Station |  | 0.00675 | 0 | 0.00354 | 0 | 0.002655 | 0 | 0.00177 | 0
Updated Building (estimated, post retrofit) | [6 empty] | Courthouse |  | 0.00426 | 0 | 0.0014805 | 0 | 0.0011104 | 0 | 0.00074027 | 0
Updated Building Annual Building Emissions | metric tons of CO2e | 0 | 0 | 0 | 0 |  | Data Center |  | 0.02381 | 0 | 0.014791 | 0 | 0.011093 | 0 | 0.0073956 | 0
Updated Building - Amount in Excess of Limit | metric tons of CO2e | [5 empty] | Distribution Center |  | 0.00574 | 0 | 0.0009916 | 0 | 0.00054964 | 0 | 0.00012357 | 0
Updated Building - Projected Annual Penalty (incl. savings from prequal. measures) | $ | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | Enclosed Mall |  | 0.01074 | 0 | 0.0039838 | 0 | 0.0029879 | 0 | 0.0019919 | 0
Annual Projected LL97 Penalties Avoided | $ | [5 empty] | Financial Office |  | 0.00846 | 0 | 0.003697 | 0 | 0.0027728 | 0 | 0.0018485 | 0
1 C-PACE ADMIN: Projected penalties are calculated based on the final rule published by the City on 12/20/22. However, emissions coefficients past the 2030-2034 compliance period will be determined by The City at a later date. Penalties for 2035 and beyond are estimated based on coefficient values the City has already published for the prior compliance period and are highly variable and likely to change. | [6 empty] | Fitness Center/Health Club/Gym |  | 0.00987 | 0 | 0.0039467 | 0 | 0.00296 | 0 | 0.0019734 | 0
[7 empty] | Food Sales |  | 0.01181 | 0 | 0.0052089 | 0 | 0.0039067 | 0 | 0.0026044 | 0
[7 empty] | Food Service |  | 0.01181 | 0 | 0.0077494 | 0 | 0.0058121 | 0 | 0.0038747 | 0
2 C-PACE ADMIN: Per LL97, the term “covered building” means, as it appears in the records of the department of finance, (i) a building that exceeds 25,000 gross square feet or (ii) two or more buildings on the same tax lot that together exceed 50,000 gross square feet (9290 m2), or (iii) two or more buildings held in the condominium form of ownership that are governed by the same board of managers and that together exceed 50,000 gross square feet (9290 m2) | [6 empty] | Hospital (General Medical & Surgical) |  | 0.02381 | 0 | 0.0073352 | 0 | 0.004654 | 0 | 0.0029979 | 0
[7 empty] | Hotel |  | 0.00987 | 0 | 0.0038507 | 0 | 0.00264 | 0 | 0.0014658 | 0
[7 empty] | K-12 School |  | 0.00675 | 0 | 0.0022306 | 0 | 0.0014881 | 0 | 0.00080961 | 0
[7 empty] | Laboratory |  | 0.02381 | 0 | 0.02603 | 0 | 0.019522 | 0 | 0.013015 | 0
https://www1.nyc.gov/assets/buildings/local_laws/ll97of2019.pdf | [6 empty] | Library |  | 0.00675 | 0 | 0.0022184 | 0 | 0.0016638 | 0 | 0.0011092 | 0
3 C-PACE ADMIN: Energy Star Portfolio Manager property types: | [6 empty] | Lifestyle Center |  | 0.00846 | 0 | 0.0047059 | 0 | 0.0035294 | 0 | 0.0023529 | 0
https://www.energystar.gov/buildings/benchmark/understand_metrics/property_types | [6 empty] | Mailing Center/Post Office |  | 0.00426 | 0 | 0.0019804 | 0 | 0.0014853 | 0 | 0.00099022 | 0
[7 empty] | Manufacturing/Industrial Plant |  | 0.00758 | 0 | 0.001417 | 0 | 0.00097599 | 0 | 0.00050835 | 0
[7 empty] | Medical Office |  | 0.01074 | 0 | 0.0029128 | 0 | 0.0016836 | 0 | 0.00040785 | 0
[7 empty] | Movie Theater |  | 0.01181 | 0 | 0.0053953 | 0 | 0.0040465 | 0 | 0.0026976 | 0
[7 empty] | Multifamily Housing |  | 0.00675 | 0 | 0.0033466 | 0 | 0.0026922 | 0 | 0.0020527 | 0
[7 empty] | Museum |  | 0.01181 | 0 | 0.0053958 | 0 | 0.0040469 | 0 | 0.0026979 | 0
[7 empty] | Non-Refrigerated Warehouse |  | 0.00426 | 0 | 0.00088319 | 0 | 0.00056805 | 0 | 0.00016315 | 0
[7 empty] | Office |  | 0.00758 | 0 | 0.0026909 | 0 | 0.0016523 | 0 | 0.00058189 | 0
[7 empty] | Other - Education |  | 0.00846 | 0 | 0.002934 | 0 | 0.0018677 | 0 | 0.00083957 | 0
[7 empty] | Other - Entertainment/Public Assembly |  | 0.00987 | 0 | 0.0029567 | 0 | 0.0022501 | 0 | 0.0013556 | 0
[7 empty] | Other - Lodging/Residential |  | 0.00758 | 0 | 0.001902 | 0 | 0.0013291 | 0 | 0.00076209 | 0
[7 empty] | Other - Mall |  | 0.01074 | 0 | 0.0019282 | 0 | 0.0010064 | 0 | 6.7983e-05 | 0
[7 empty] | Other - Public Services |  | 0.00758 | 0 | 0.003808 | 0 | 0.002856 | 0 | 0.001904 | 0
[7 empty] | Other - Recreation |  | 0.00987 | 0 | 0.0044796 | 0 | 0.0033597 | 0 | 0.0022398 | 0
[7 empty] | Other - Restaurant/Bar |  | 0.02381 | 0 | 0.0085051 | 0 | 0.0063788 | 0 | 0.0042525 | 0
[7 empty] | Other - Services |  | 0.01074 | 0 | 0.0018234 | 0 | 0.0013675 | 0 | 0.00091169 | 0
[7 empty] | Other - Specialty Hospital |  | 0.02381 | 0 | 0.0063218 | 0 | 0.0047414 | 0 | 0.0031609 | 0
[7 empty] | Other - Technology/Science |  | 0.02381 | 0 | 0.010446 | 0 | 0.0078348 | 0 | 0.0052232 | 0
[7 empty] | Outpatient Rehabilitation/Physical Therapy |  | 0.01181 | 0 | 0.0060183 | 0 | 0.0045137 | 0 | 0.0030092 | 0
[7 empty] | Parking |  | 0.00426 | 0 | 0.00021442 | 0 | 0.00010494 | 0 | 0 | 0
[7 empty] | Performing Arts |  | 0.00846 | 0 | 0.0024725 | 0 | 0.0013993 | 0 | 0 | 0
[7 empty] | Personal Services (Health/Beauty, Dry Cleaning, etc.) |  | 0.00574 | 0 | 0.004843 | 0 | 0.0036323 | 0 | 0.0024215 | 0
[7 empty] | Pre-school/Daycare |  | 0.00675 | 0 | 0.0023629 | 0 | 0.0017722 | 0 | 0.0011814 | 0
[7 empty] | Refrigerated Warehouse |  | 0.00987 | 0 | 0.0028521 | 0 | 0.0021391 | 0 | 0.0014261 | 0
[7 empty] | Repair Services (Vehicle, Shoe, Locksmith, etc.) |  | 0.00426 | 0 | 0.0022107 | 0 | 0.001658 | 0 | 0.0011053 | 0
[7 empty] | Residence Hall/Dormitory |  | 0.00758 | 0 | 0.0024641 | 0 | 0.0013325 | 0 | 0.00052862 | 0
[7 empty] | Residential Care Facility |  | 0.01138 | 0 | 0.0048931 | 0 | 0.0040278 | 0 | 0.0022726 | 0
[7 empty] | Restaurant |  | 0.01181 | 0 | 0.0040384 | 0 | 0.0030288 | 0 | 0.0020192 | 0
[7 empty] | Retail Store |  | 0.00758 | 0 | 0.0021045 | 0 | 0.001216 | 0 | 0.00017604 | 0
[7 empty] | Self-Storage Facility |  | 0.00426 | 0 | 0.00061183 | 0 | 0.0004049 | 0 | 0.00013228 | 0
[7 empty] | Senior Care Community |  | 0.01138 | 0 | 0.0044101 | 0 | 0.0033364 | 0 | 0.0022779 | 0
[7 empty] | Social/Meeting Hall |  | 0.00987 | 0 | 0.0038331 | 0 | 0.0028748 | 0 | 0.0019166 | 0
[7 empty] | Strip Mall |  | 0.01181 | 0 | 0.0013618 | 0 | 0.00060049 | 0 | 3.8512e-05 | 0
[7 empty] | Supermarket/Grocery Store |  | 0.02381 | 0 | 0.0067552 | 0 | 0.0042561 | 0 | 0.00203 | 0
[7 empty] | Transportation Terminal/Station |  | 0.00426 | 0 | 0.00057167 | 0 | 0.00042875 | 0 | 0.00028583 | 0
[7 empty] | Urgent Care/Clinic/Other Outpatient |  | 0.01181 | 0 | 0.0057724 | 0 | 0.0043293 | 0 | 0.0028862 | 0
[7 empty] | Vocational School |  | 0.00574 | 0 | 0.0046131 | 0 | 0.0034598 | 0 | 0.0023066 | 0
[7 empty] | Wholesale Club/Supercenter |  | 0.01138 | 0 | 0.004265 | 0 | 0.0031987 | 0 | 0.0021325 | 0
[7 empty] | Worship Facility |  | 0.00574 | 0 | 0.0012306 | 0 | 0.00086692 | 0 | 0.00054931 | 0
[6 empty] | Totals |  | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0

## Backup
Measure type |  | Units |  | Building locations |  | Conversion Factors | Units | Conversion to Btu
Prequalified Measure |  | ft |  | Basement/Cellar |  | Electricity | kWh | 3412.1416
Renewable Energy System |  | ft2 |  | Common areas |  | Natural Gas | therms | 100000
Energy Efficiency Improvement |  | units |  | Front yard |  | #2 Fuel Oil | gallons of #2 | 138000
Incremental Cost Approach Measure |  |  |  | Rear yard |  | #4 Fuel Oil | gallons of #4 | 146000
Ancillary Measure – Energy-Related Health and Safety |  |  |  | Façade |  | District Steam | Mlbs of steam | 1194000
Ancillary Measure – Required to Implement Energy Improvement |  |  |  | Roof
Eligible Soft Cost |  |  |  | Whole Building
Renewable energy systems |  | yes/no |  | In-unit
Install solar thermal system |  | Yes
Install solar photovoltaic system |  | No
Install small wind system
Install anaerobic digester gas (ADG)
Install fuel cell
Install wood heating system
Install energy storage
Modified DCAS Measures List
01 Advanced Metering Systems | 02 Boiler Plant | 03 Building Automation Systems | 04 Building Envelope | 05 Chilled Water Hot Water And Steam Distribution Systems | 06 Chiller Plant | 07 Conveyance Systems | 08 Data Center | 09 Distributed Generation | 10 Electrical Peak Shaving Load Shifting | 11 Energy Distribution Systems | 12 Lighting | 13 Other Electric Motors And Drives | 14 HVAC | 15 Plug Loads | 16 Refrigeration | 18 Service Hot Water Systems | 20 Water And Sewer Conservation Systems | 19 Uncategorized
Repair utility meters | Install boiler blowdown heat recovery | Install advanced BMS or energy management system | Install or increase attic or knee wall insulation | Install wastewater heat recovery | Install chiller heat recovery | Add elevator regenerative drives | Replace server with virtual server or replace desktop with laptop | Repair distributed generation equipment | Install electric battery storage | Rewire, adjust, repair interlocking or imbalance in electric distribution | Install daylight sensor and lighting control | Install VFD for distribution pump | Install air source heat pumps | Install software to control desktop computer power except critical applications | Replace refrigeration unit with higher efficiency refrigeration unit | Calibrate, relocate, or repair SHW temperature sensor | Implement water efficient irrigation
Install real-time metering | Install flue gas heat recovery for combustion air preheat | Implement hot water reset based on outdoor air temperature | Install solar window shade | Install or increase insulation for non-pipe distribution components | Install waterside economizer | Upgrade elevator / escalator controls | Install separate cooling system for data center | Install cogeneration system | Install thermal energy storage | Install power factor correction device | Rewire fixtures or add dimming ballast to allow daylight control | Install VFD for HVAC fan | Install ground source heat pumps | Install plug load controls for convenience receptacles | Install controls for refrigeration system | Repair service hot water components | Install aerator for lavatory faucet or shower head
Install utility meter | Install automated surface blowdown in boiler | Install control for optimum start / pre-warm / pre-cool | Install low-e window film | Install control for steam pressure reducing valve station | Improve waterside economizer function | Upgrade elevator hydraulic systems | Replace computer room air conditioner with transfer air | Install fuel cell | Install load shedding capability | Install power conditioning to improve power quality | Install bi-level lighting for egress or area with 24/7 use | Install VFD for cooling tower | Install water-source heat pumps | Install vending miser technology |  | Clean filtration water loop | Install motion activated lavatory faucet
Sub-meter master metered building | Install or replace boiler temperature sensor | Install monitor for fuel oil level, oil pressure, or coolant level | Cover or remove window or through-wall air conditioners during heating season | Install feedback control for pressurized steam system | Install cooling tower to support conversion to water cooled HVAC package units | Upgrade elevator / escalator motor | Decommission or re-purpose servers | Install microturbine on district steam service | Reduce Peak demands caused by Air Conditioning and/or electric heating | Consolidate electric meters | Install occupancy / vacancy sensor and lighting control | Replace failed fan or pump VFD | Insulate duct | Replace appliances and computers with Energy Star models |  | Decrease SHW temperature | Install dual mode flushometer
Sub-meter master metered campus | Install or replace meter for boiler make-up water | Install or replace thermostat (other than programmable radiator thermostat) | Install automatic damper in stairwell or elevator shaft | Replace or install thermostatic radiator valve/programmable radiator thermostat | Replace cooling tower with higher efficiency cooling tower | Repair elevator components | Optimize temperature set points in server rooms | Improve operating protocols or calibration for distributed generation systems |  | Install uninterruptible power supply | Calibrate, relocate, or repair lighting sensor or control | Repair motors/drives | Install enthalpy wheel |  |  | Install swimming pool cover to reduce vaporization | Install motion activated flushometer
Install load estimating software | Install outdoor reset control for boiler | Install remote or tamper proof thermostat | Install vestibule, air lock, or revolving door | Replace steam pressure reducing valve | Calibrate, relocate, or repair chilled water temperature sensor |  | Upgrade server to higher efficiency server |  |  | Upgrade electrical panel | Clean light fixtures, covers, and lamps | Clean motors/drives | Install heat pipe |  |  | Replace SHW mixing valve or circulating pump | Install self closing shower valves
| Install oxygen trim control with boiler intake damper | Replace outside air sensor with local weather station data | Seal penetrations other than windows or doors | Replace steam radiator air vent (one-pipe system) | Install control to stage chillers |  |  |  |  | Upgrade transformer | Repair lighting and/or wiring | Replace pump or fan motor with premium efficiency motor | Install heat recovery from swimming pool air |  |  | Install heat pump water heater | Install pre-rinse valve
| Install or upgrade boiler burner controller | Upgrade zone controls | Weather seal and/or repair window or door | Install water temperature sensors and optimize controls | Install or replace chilled water temperature sensor |  |  |  |  | Replace electrical outlets | Install light shelf or tubular daylighting device | Operate VFDs at maximum turndown, vary by season, time of day, and occupancy | Install run-around loop (liquid coupled heat exchanger) |  |  | Install control for service hot water heater | Repair leak in plumbing equipment
| Install or upgrade fuel economizer control | Replace CO2 sensor | Install or increase ceiling insulation | Replace steam controller | Install or replace meter for cooling tower make-up water |  |  |  |  | Provide power to HVAC equipment | Install new exterior window or skylight opening | Adjust belt guard | Install ventilation heat or energy recovery |  |  | Install solar thermal water heating for service hot water | Perform a water audit
| Upgrade boiler controls | Replace controls | Install or increase floor slab and/or foundation insulation | Upgrade heat exchanger controls | Install or replace chiller controller |  |  |  |  | Energy/PowerStation Modification | Install photocell or time clock control for exterior lighting | Adjust motor belt tension | Dehumidification with heat exchanger |  |  | Install solar thermal water heating for swimming pool
| Install pressuretrols | Convert pneumatic control to direct digital control | Install or increase roof or soffit insulation | Install or increase heating or cooling system pipe insulation | Repair chiller plant components | [5 empty] | Install time clock control for interior lighting | Perform motor vibration analysis | Install dual-path electric system |  |  | Replace storage water heater with tankless electric water heater
| Replace flue smoke detector | Adjust setpoints and setbacks for major system components | Install or increase wall insulation | Add recirculating pumps | Repair or clean cooling tower | [5 empty] | Delamp lighting fixtures in overlit areas | Reconnect motor | Install electrical desiccant system |  |  | Replace storage water heater with tankless gas water heater
| Install oil storage tank level indicator | Adjust setpoints and setbacks for minor system components | Install reflective coating or green or blue roof | Repair distribution pipe or valve | Install or replace treatment or filtration system for chilled water plant | [5 empty] | Install task lighting to reduce dependence on general illumination | Balance motor phases | Improve airside economizer function |  |  | Install water pressure booster
| Install vaporstat | Increase zone temperature deadband | Install or replace exterior solar screens | Repair distribution pump or compressor, not including motor | Install variable primary cooling plant pump | [5 empty] | Replace diffusers | Replace motor starter and magnetic coils | Install airside economizer |  |  | Insulate service hot water piping
| Replace boiler controls | Install VAV tracking for duct pressure reset | Install or increase foundation insulation | Repair or replace aquastat | Upgrade condenser water pump | [5 empty] | Install advanced lighting technology |  | Repair components to enable economizer operation |  |  | Replace or install water heater tank insulation
| Clean and tune boiler / furnace | Repair temperature or pressure reset function | Insulate thermal bridge | Repair feed water tank | Overhaul or recondition compressor | [5 empty] | Replace lamps with LED lamps |  | Add enthalpy economizer |  |  | Replace service hot water piping
| Perform boiler blowdown | Verify simultaneous heating and cooling does not occur unless intended | Install rapid roll-up garage door | Repair condensate system | Install VSD on electric centrifugal chillers | [5 empty] | Replace lighting fixtures with LED fixtures |  | Calibrate, relocate, or repair HVAC temperature sensor |  |  | Replace coil for tankless water heater
| Repair fuel economizer | Check monitoring sensors for proper calibration | Replace exterior door | Clean or repair fan coil unit or fin tube radiator | Install separate base load cooling system | [5 empty] | Replace street lights with LED fixtures |  | Install or replace HVAC differential pressure sensor |  |  | Install separate service hot water heater
| Repair boiler controls | Restore VFD operation | Replace glazing with high performance glazing | Repair or clean heat exchanger | Replace electric chiller with absorption chiller | [5 empty] | Replace with T-5 fixtures |  | Install or replace HVAC temperature sensor |  |  | Replace storage water heater with higher efficiency storage water heater
| Repair boiler sensors | Restore time of day operation | Replace window assembly with high performance window assembly | Clean water distribution loop | Replace electric chiller with higher efficiency electric chiller | [5 empty] | Replace with T-8 fixtures |  | Install or replace HVAC timer for schedule control |  |  | Optimize domestic water pump
| Repair boiler opacity monitor | Calibrate thermostats and/or control valves |  | Install or upgrade master steam system venting | Replace absorption chiller with electric chiller | [5 empty] | Replace with CFL fixtures |  | Install economizer controls |  |  | Adjust domestic hot water temperatures
| Repair oil leak | Develop manual override protocol |  | Install steam condensate heat recovery | Implement chilled water reset control strategy | [5 empty] | Replace exit signs with LED exit signs |  | Replace fan controller |  |  | Use service hot water heater year-round
| Repair boiler burner | Implement outdoor air reset |  | Install radiator covers | Implement condenser water reset control strategy | [5 empty] | Install high efficiency exterior site, facade, security or parking lighting |  | Install wireless HVAC controls |  |  | Restore automatic operation of domestic water components
| Repair fuel line | Optimize scheduling control |  | Implement steam trap maintenance program | Implement cooling tower load-sharing | [5 empty] | Optimize or calibrate lighting controls |  | Install seasonal control switch |  |  | Adjust pool water temperature
| Repair fuel oil pump | Shutdown uneeded equipment |  | Repair and/or replace steam trap | Optimize condenser water controls | [5 empty] | Implement overnight lighting schedule |  | Upgrade HVAC unit controls |  |  | Optimize service hot water heater opertation
| Convert boiler from gas-fired furnace to boiler supplied HHW coils | Restore controls to automatic operation |  | Replace steam trap with orifice plate (two-pipe system) | Optimize cooling tower chemical treatment program | [5 empty] | Adjust vacancy control settings |  | Testing, adjusting, and balancing of ventilation / air distribution system |  |  | Install gas fired SHW system
| Convert heating system from electricity to hot water | Optimize location of global sensor |  | Replace condensate return system | Optimize head pressure control for condenser fans | [5 empty] | Optimize lighting levels |  | Clean duct, vent, grill, coil, or valve in air distribution system
| Convert heating system from steam to hot water | Control cooling to NYC cooling guidelines |  | Replace vacuum steam condensate return pump | Optimize sequencing for multiple chillers | [5 empty] | Replace lighting control system |  | Repair fan belt, pulley, or bearings
| Convert boiler plant from #4 oil to #2 oil, natural gas, or dual fuel | Legacy Reset Pressure/Temperature/Humidity Set points on System components |  | Vent flash steam from condensate return unit | Reoptimize chilled water temperature reset | [7 empty] | Replace air filter
| Increase biofuel blend | Troubleshoot and repair communication with BMS/EMS/EMCS |  | Separate service hot water from heating system | Reoptimize condenser temperature reset | [7 empty] | Clean and repair air filters
| Install separate base load boiler | Repair failed controls |  | Testing, adjusting, and balancing of chilled / hot water distribution system | Modulate cooling tower fan speed | [7 empty] | Repair AHU
| Calibrate, relocate, or repair boiler temperature sensor |  |  | Adjust aquastat setpoint | Add engine driven chiller | [7 empty] | Repair AHU controls
| Install baffle inserts in boiler |  |  | Restore steam, chilled / hot / condenser water valve control | [8 empty] | Repair HV unit
| Install boiler bleeder valve |  |  | Adjust mixing valve | [8 empty] | Repair outside air damper and/or actuator
| Install boiler circulator pump |  |  | Adjust pressure drop | [8 empty] | Repair RTU
| Install damper for boiler exhaust |  |  | Optimize operating differential to avoid short cycling | [8 empty] | Repair flexible connection
| Install or replace boiler jacket |  |  | Reduce chilled water pump flow | [8 empty] | Repair or clean fan
| Install or replace filtration or chemical treatment system for boiler |  |  | Adjust pump control valves | [8 empty] | Repair convector
| Replace boiler oil heater or pump |  |  | Insulate receiver / expansion / condensate tank | [8 empty] | Repair zone distribution components
| Replace steam header |  |  | Replace expansion / receiver / condensate tank | [8 empty] | Repair or restore HV unit controls
| Optimize boiler pressure during cooling season when only utilized for DHW |  |  | Install freeze protection for piping | [8 empty] | Repair or clean fire damper
| Install automatic feedwater station |  |  | Perform chilled water pump survey | [8 empty] | Replace failed HVAC sensors
| Legacy Boiler Repairs |  |  | Perform steam trap survey | [8 empty] | Convert dual duct, constant volume, or multi zone system to VAV system
| Legacy Tune heating boilers/DHW heaters |  |  | Replace hot water or chilled water pumps | [8 empty] | Replace heating and/or cooling with air to air heat pump
| Replace boiler with smaller right-sized boiler |  |  | Replace drip pans | [8 empty] | Install split unit
| Replace natural gas boiler with higher thermal efficiency natural gas boiler |  |  | Install additional chilled water system | [8 empty] | Install demand control for kitchen exhaust hood
| Replace atmospheric burner with sealed combustion or power burner |  |  | Upgrade, install or replace TRVs, thermostats, CVs, actuators, dampers | [8 empty] | Install demand control with Cox/NOx/SOx or occupancy sensor
| Replace burner with linkageless burner | [11 empty] | Install passive solar heating technologies
| Replace burner with modulating burner | [11 empty] | Install solar ventilation preheating system
| Legacy Replace burner with dual fuel burner of turndown ratio 13:1 or higher | [11 empty] | Install thermal destratification fan
| Optimize sequencing for multiple boilers | [11 empty] | Replace heating and/or cooling with air to water or water to water heat pump
| Reoptimize boiler temperature reset | [11 empty] | Install control for window or through-wall air conditioning units
| Calibrate boiler controls | [11 empty] | Recover, recharge, or convert refrigerant
| Calibrate flue damper | [11 empty] | Replace window or through wall air conditioner with higher efficiency unit
| Adjust boiler controls | [11 empty] | Optimize control for window or through-wall air conditioning units
| Reconnect modulating combustion air dampers | [11 empty] | Provide refrigerant additive
| Implement boiler maintenance program | [11 empty] | Remove unused damper or guide vane
| Insulate heating hot water tank | [11 empty] | Replace radiator, fan coil, convector, or heating unit
| Replace heating hot water tank | [11 empty] | Install coil filters
Implement HVAC coil coating
Install air curtain
Replace burner in furnace
Replace furnace
Isolate steam coil on supply fans
Install coil bypass duct, damper, and control for shoulder season operation
Install control for night purge cycle
Install control for static pressure
Install control for ventilation supply or exhaust fan
Install dedicated outdoor air system
Install high efficiency air filter
Install high plume dilution (Strobic) exhaust fan for process exhaust
Install or replace outside air damper control and actuator
Install control to open windows when outdoor conditions allow; interlock w/ HVAC
Install separate supply ducts to hot deck and cold deck
Adjust ventilation rate
Replace VAV box
Upgrade or decommission laboratory fume hood
Install spill duct
Restablish use of heating ventilators
Reshape and/or patch ductwork
Replace flexible connection
Restore operation of mechanical ventilation equipment
Replace heating and ventilation unit
Replace fan
Repair refrigerant leak
Seal duct
Replace damper and/or actuator for HVAC system
Install ground source heat pump
Replace air handling unit heating or cooling coil
Replace air handling unit with higher efficiency air handling unit
Replace existing belt drive with synchronous belt drive
Replace V-Belts
Replace fan belts / bearings
Replace air handling unit fan
Convert air cooled package unit to water cooled package unit with cooling tower
Replace RTU, PTAC, or DX unit with higher efficiency packaged unit
Replace or repair air compressor and components
Install air dryer with compressor system
Calibrate, relocate, or repair differential pressure sensor
Close outside air dampers during start-up
Implement correct minimum outside air damper position
Implement occupancy scheduling for fans
Incorporate optimal start/stop strategy
Optimize hot deck / cold deck air handler controls
Reoptimize supply air temperature reset
Repair VFD control loops for pumps and fans
Verify and optimize sequence of operation
Implement filter maintenance protocol
Restore outside air damper controls
Enable economizer control
Implement supply air temperature reset
Implement variable air control for VAV systems
Implement/optimize HVAC schedule on existing system
Implement RTU maintenance program
Implement proper maintenance procedure for machine bearings
Implement air leak maintenance program
Implement fan belt maintenance program
Insulate HV unit
Install variable refrigerant flow system
HVAC improvements
Optimize components of existing roof top unit(s) for energy efficiency
Implement chemical treatment for various HVAC systems (non-boiler)

## Prequal Measures
Measures on Modified DCAS List That May be Eligible for Prequalified Approach
14 HVAC | 06 Chiller Plant | 18 Service Hot Water Systems
Install air source heat pumps | Replace electric chiller with absorption chiller | Install heat pump water heater
Install ground source heat pumps | Replace electric chiller with higher efficiency electric chiller | Install solar thermal water heating for service hot water
Install water-source heat pumps | Replace absorption chiller with electric chiller | Install solar thermal water heating for swimming pool
Install ventilation heat or energy recovery |  | Install separate service hot water heater
Replace heating and/or cooling with air to air heat pump |  | Replace storage water heater with higher efficiency storage water heater
Replace heating and/or cooling with air to water or water to water heat pump
Install ground source heat pump

## Incr Cost Measures
Measures on Modified DCAS List That May be Eligible for Incremental Cost Approach
04 Building Enclosure
Install or increase attic or knee wall insulation
Install solar window shade
Install low-e window film
Install vestibule, air lock, or revolving door
Seal penetrations other than windows or doors
Weather seal and/or repair window or door
Install or increase ceiling insulation
Install or increase floor slab and/or foundation insulation
Install or increase roof or soffit insulation
Install or increase wall insulation
Install reflective coating or green or blue roof
Install or replace exterior solar screens
Install or increase foundation insulation
Insulate thermal bridge
Install rapid roll-up garage door
Replace exterior door
Replace glazing with high performance glazing
Replace window assembly with high performance window assembly

## Social Cost Value Analysis
Tab Calculates Social Cost Value factors. All cells are locked.
Social Cost Value from Proposed Project Energy Savings
| Social Cost of Electricity Consumption (2022$ per MWh of downstate electricity consumed) | Social Cost of Fuel Consumption (2022$ per MMBtu consumed)
Year | Electricity Consumed (downstate) | Natural Gas | Heating Oil - Fossil | B5 Heating Oil | B10 Heating Oil | B20 Heating Oil | SUM
2024 | 0 | 0 | - | 0 | - | - | 0
2025 | 0 | 0 | - | 0 | - | - | 0
2026 | 0 | 0 | - | - | 0 | - | 0
2027 | 0 | 0 | - | - | 0 | - | 0
2028 | 0 | 0 | - | - | 0 | - | 0
2029 | 0 | 0 | - | - | 0 | - | 0
2030 | 0 | 0 | - | - | 0 | - | 0
2031 | 0 | 0 | - | - | - | 0 | 0
2032 | 0 | 0 | - | - | - | 0 | 0
2033 | 0 | 0 | - | - | - | 0 | 0
2034 | 0 | 0 | - | - | - | 0 | 0
2035 | 0 | 0 | - | - | - | 0 | 0
2036 | 0 | 0 | - | - | - | 0 | 0
2037 | 0 | 0 | - | - | - | 0 | 0
2038 | 0 | 0 | - | - | - | 0 | 0
2039 | 0 | 0 | - | - | - | 0 | 0
2040 | 0 | 0 | - | - | - | 0 | 0
2041 | 0 | 0 | - | - | - | 0 | 0
2042 | 0 | 0 | - | - | - | 0 | 0
2043 | 0 | 0 | - | - | - | 0 | 0
2044 | 0 | 0 | - | - | - | 0 | 0
2045 | 0 | 0 | - | - | - | 0 | 0
2046 | 0 | 0 | - | - | - | 0 | 0
2047 | 0 | 0 | - | - | - | 0 | 0
2048 | 0 | 0 | - | - | - | 0 | 0
2049 | 0 | 0 | - | - | - | 0 | 0
2050 | 0 | 0 | - | - | - | 0 | 0
CALCULATIONS AND DATA SOURCES:
Social Cost per Unit of Consumption for Electricity and Fuels | [6 empty] | Grid Emission Factors for the Downstate Region |  |  |  | Social Cost of Carbon (infl. Adj.) |  |  |  | Social Cost of Carbon
Calculations | [6 empty] | Source: "Projected Emission Factors for New York State Grid Electricity." NYSERDA, August 2022. |  |  |  | Source: "Appendix: Annual Social Cost Estimates" NYS Department of Environmental Conservation, Revised as of 2023. |  |  |  | Source: "Appendix: Annual Social Cost Estimates" NYS Department of Environmental Conservation, Revised as of 2023.
| Social Cost of Electricity Consumption (2022$ per MWh of downstate electricity consumed) | Social Cost of Fuel Consumption (2022$ per MMBtu consumed) | [5 empty] | Annual Average of Long-run Marginal Emission Factors, Full Fuel Cycle (metric tons of each GHG/MWh) |  |  | U.S. Social Cost of GHG, Adjusted for NYS and Using 2% Discount Rate (2022$ per MT of each GHG) |  |  |  | U.S. Social Cost of GHG, Adjusted for NYS and Using 2% Discount Rate (2020$ per MT of each GHG)
Year | Electricity Consumed (downstate) | Natural Gas | Heating Oil - Fossil | B5 Heating Oil | B10 Heating Oil | B20 Heating Oil | Year | Long-run marginal - fuel cycle - CO2 | Long-run marginal - fuel cycle - CH4 | Long-run marginal - fuel cycle - N2O | Year | CO2 | CH4 | N2O | Year | CO2 | CH4 | N2O
2024 | 53.0763 | 10.6316 | 13.4153 | 12.8011 | 12.1724 | 10.9328 | 2024 | 0.30321 | 0.0016764 | 2.137e-06 | 2024 | 144.7706 | 3338.964 | 52083.6517 | 2024 | 132.09 | 3046.5 | 47521.58
2025 | 51.6508 | 10.7763 | 13.588 | 12.9659 | 12.3291 | 11.0736 | 2025 | 0.2911 | 0.0016095 | 2.0517e-06 | 2025 | 146.59 | 3411.3329 | 52849.383 | 2025 | 133.75 | 3112.53 | 48220.24
2026 | 42.3382 | 10.9267 | 13.7665 | 13.1362 | 12.491 | 11.2191 | 2026 | 0.23533 | 0.0013011 | 1.6587e-06 | 2026 | 148.4642 | 3489.949 | 53658.3845 | 2026 | 135.46 | 3184.26 | 48958.38
2027 | 37.5842 | 11.0772 | 13.945 | 13.3064 | 12.653 | 11.3646 | 2027 | 0.20607 | 0.0011394 | 1.4524e-06 | 2027 | 150.3383 | 3568.565 | 54467.3859 | 2027 | 137.17 | 3255.99 | 49696.52
2028 | 29.4894 | 11.2277 | 14.1234 | 13.4767 | 12.8149 | 11.5101 | 2028 | 0.15952 | 0.00088199 | 1.1243e-06 | 2028 | 152.2125 | 3647.1811 | 55276.3874 | 2028 | 138.88 | 3327.72 | 50434.66
2029 | 26.1458 | 11.3782 | 14.3019 | 13.647 | 12.9769 | 11.6556 | 2029 | 0.13957 | 0.00077165 | 9.8368e-07 | 2029 | 154.0866 | 3725.8082 | 56085.3888 | 2029 | 140.59 | 3399.46 | 51172.8
2030 | 21.8298 | 11.5286 | 14.4803 | 13.8173 | 13.1388 | 11.8011 | 2030 | 0.11501 | 0.00063587 | 8.1058e-07 | 2030 | 155.9608 | 3804.4242 | 56894.3902 | 2030 | 142.3 | 3471.19 | 51910.94
2031 | 0 | 11.6806 | 14.6594 | 13.9882 | 13.3012 | 11.9471 |  |  |  |  | 2031 | 157.835 | 3887.0736 | 57719.0316 | 2031 | 144.01 | 3546.6 | 52663.35
2032 | 0 | 11.8325 | 14.8384 | 14.159 | 13.4637 | 12.093 | Fuel-Specific Fuel Cycle GHG Emission Factors for Common Fuels under Net Biogenic Accounting Convention, for Residential & Commercial Building Sector |  |  |  | 2032 | 159.7091 | 3969.723 | 58543.6839 | 2032 | 145.72 | 3622.01 | 53415.77
2033 | 0 | 11.9852 | 15.0184 | 14.3307 | 13.627 | 12.2398 |  |  |  |  | 2033 | 161.5942 | 4052.3723 | 59368.3253 | 2033 | 147.44 | 3697.42 | 54168.18
2034 | 0 | 12.1371 | 15.1974 | 14.5016 | 13.7895 | 12.3857 |  |  |  |  | 2034 | 163.4684 | 4135.0217 | 60192.9666 | 2034 | 149.15 | 3772.83 | 54920.59
2035 | 0 | 12.2891 | 15.3764 | 14.6724 | 13.9519 | 12.5317 | Source: "Fossil and Biogenic Fule GHG Emission Factors White Paper." NYSERDA, August 2022. |  |  |  | 2035 | 165.3426 | 4217.671 | 61017.608 | 2035 | 150.86 | 3848.24 | 55673
2036 | 0 | 12.4451 | 15.5591 | 14.8467 | 14.1177 | 12.6807 |  |  |  |  | 2036 | 167.2496 | 4305.7018 | 61876.039 | 2036 | 152.6 | 3928.56 | 56456.24
2037 | 0 | 12.6019 | 15.7427 | 15.022 | 14.2843 | 12.8304 | Fuel | Emission Factor under Net Biogenic Accounting Convention (MT / MMBtu) |  |  | 2037 | 169.1676 | 4393.7325 | 62734.4591 | 2037 | 154.35 | 4008.88 | 57239.47
2038 | 0 | 12.7579 | 15.9254 | 15.1963 | 14.4501 | 12.9794 |  |  |  |  | 2038 | 171.0746 | 4481.7632 | 63592.8792 | 2038 | 156.09 | 4089.2 | 58022.7
2039 | 0 | 12.9139 | 16.1081 | 15.3706 | 14.6159 | 13.1283 |  | CO2 | CH4 | N2O | 2039 | 172.9817 | 4569.783 | 64451.2993 | 2039 | 157.83 | 4169.51 | 58805.93
2040 | 0 | 13.07 | 16.2908 | 15.5449 | 14.7817 | 13.2773 | Natural Gas | 0.065 | 0.000362 | 2.46e-07 | 2040 | 174.8887 | 4657.8137 | 65309.7194 | 2040 | 159.57 | 4249.83 | 59589.16
2041 | 0 | 13.2456 | 16.5029 | 15.7474 | 14.9742 | 13.4502 | Heating Oil - Fossil | 0.0893 | 0.000132 | 8.94e-07 | 2041 | 177.1355 | 4739.0054 | 66204.7568 | 2041 | 161.62 | 4323.91 | 60405.8
2042 | 0 | 13.4213 | 16.7151 | 15.9498 | 15.1667 | 13.6232 | B5 Heating Oil | 0.0852 | 0.000126 | 8.81e-07 | 2042 | 179.3823 | 4820.197 | 67099.7942 | 2042 | 163.67 | 4397.99 | 61222.44
2043 | 0 | 13.5969 | 16.9272 | 16.1523 | 15.3592 | 13.7961 | B10 Heating Oil | 0.081 | 0.00012 | 8.69e-07 | 2043 | 181.6291 | 4901.3778 | 67994.8426 | 2043 | 165.72 | 4472.06 | 62039.09
2044 | 0 | 13.7733 | 17.1404 | 16.3557 | 15.5526 | 13.9699 | B20 Heating Oil | 0.0727 | 0.000109 | 8.45e-07 | 2044 | 183.8869 | 4982.5694 | 68889.8801 | 2044 | 167.78 | 4546.14 | 62855.73
2045 | 0 | 13.9489 | 17.3525 | 16.5581 | 15.7451 | 14.1428 | NOTE: Using 'net accounting convention' values as recommended in white paper for estimating monetized value of avoided GHGs |  |  |  | 2045 | 186.1337 | 5063.7611 | 69784.9175 | 2045 | 169.83 | 4620.22 | 63672.37
2046 | 0 | 14.0962 | 17.5249 | 16.7226 | 15.9015 | 14.2834 |  |  |  |  | 2046 | 187.9311 | 5147.2763 | 70717.1313 | 2046 | 171.47 | 4696.42 | 64522.93
2047 | 0 | 14.2435 | 17.6973 | 16.8871 | 16.058 | 14.424 |  |  |  |  | 2047 | 189.7286 | 5230.7915 | 71649.356 | 2047 | 173.11 | 4772.62 | 65373.5
2048 | 0 | 14.3709 | 17.8422 | 17.0254 | 16.1895 | 14.5422 | NOTE: the generalized "heating oil - fossil" is the reported emissions factor for fossil distillate, which encompasses #2 and #4 heating oil. However, the white paper recommends using B5 factors for heating oil in NYC through June 2025, B10 factors from 2025-2030, and B20 factors from 2030 onward to align calculations with local and state requirements. We follow this recommendation. |  |  |  | 2048 | 191.2191 | 5314.3067 | 72581.5698 | 2048 | 174.47 | 4848.82 | 66224.06
2049 | 0 | 14.5388 | 18.043 | 17.217 | 16.3717 | 14.7059 |  |  |  |  | 2049 | 193.3344 | 5397.8219 | 73513.7945 | 2049 | 176.4 | 4925.02 | 67074.63
2050 | 0 | 14.6861 | 18.2154 | 17.3815 | 16.5281 | 14.8465 |  |  |  |  | 2050 | 195.1318 | 5481.3371 | 74446.0082 | 2050 | 178.04 | 5001.22 | 67925.19
NOTE: Inflation adjustment uses CPI-U change between Jan 2020 and Jan 2024. Unadjusted values are to the right.
NOTE: Social cost of electricity values adjusted to reflect distribution loss factor, per guidance in NYSERDA's "Projected Emissions Factor.." white paper
NOTE: Social cost value from electricity savings is only calculated through 2030; NYSERDA's projected grid emission intensity extends only through 2030 and subsequent year values are uncertain.
NOTE: NYSERDA's B5, B10, and B20 heating oil emission factors are used to calculate social cost value for #2 and #4 heating oil. This reflects guidance in the related paper to align calculations with state and local requirements that change over time.