## 1 Summary
New Construction Version 1.2 as of July 2025
Please fill out all applicable fields as indicated (white). Grey cells are locked when feasible and should not be edited.
Subject Property
Street Address:
City:
State:
Zip Code:
BBL (XX-XXXXX-XXXX)1:
NYCECC Code Used for Baseline: | 0
Summary of Project Costs Associated with Proposed C-PACE Funded Project
Total Project Costs | 0
Total Eligible C-PACE Costs2 | 0
Percentage of C-PACE costs to Total Project Costs | #DIV/0!
Summary of Financial Savings Associated with Proposed C-PACE Funded Project
| Before Project (Baseline) | After Project | Annual Savings | % Savings Over Baseline
Estimated Annual Energy Consumption
Electricity (kWh) | 0 | 0 | 0 | No change
Natural Gas (therms) | 0 | 0 | 0 | No change
#2 Fuel Oil (gallons) | 0 | 0 | 0 | No change
#4 Fuel Oil (gallons) | 0 | 0 | 0 | No change
District Steam (Mlbs) | 0 | 0 | 0 | No change
Total Energy (kBtu) | 0 | 0 | 0
Estimated Annual Energy Cost ($)
Electricity | 0 | 0 | 0 | No change
Natural Gas | 0 | 0 | 0 | No change
#2 Fuel Oil | 0 | 0 | 0 | No change
#4 Fuel Oil | 0 | 0 | 0 | No change
District Steam | 0 | 0 | 0 | No change
Total Energy Cost | 0 | 0 | 0
Additional Financial Benefits Quantified |  |  | 0
NYC Local Law 97 Implications
Projected Annual Penalty 2024 - 2029 |  | #VALUE! |  | #VALUE!
Projected Annual Penalty 2030 - 2034 |  | #VALUE! |  | #VALUE!
Projected Annual Penalty 2035-20393 |  | #VALUE! |  | #VALUE!
Projected Annual Penalty 2040 - 2049 |  | #VALUE! |  | #VALUE!
Projected Savings Summary after C-PACE Funded Project
Projected Annual Savings (energy cost savings and additional financial benefits) |  |  | 0
Projected Annual Savings 2024-2029 (including avoided fines under LL97) |  |  | 0
Projected Annual Savings 2030-2034 (including avoided fines under LL97) |  |  | 0
Projected Annual Savings 2035-2039 (including avoided fines under LL97) |  |  | 0
Projected Annual Savings 2040-2049 (including avoided fines under LL97) |  |  | 0
C-PACE ADMIN: The City of New York and NYCEEC (acting as Program Administrator and Paying Agent) make no representations or warranties with respect to any of the estimates or other information contained in this workbook.
1 C-PACE ADMIN: Search for the BBL on NYC ZOLA by searching by address: |  | https://zola.planning.nyc.gov/
2C-PACE ADMIN: Total Eligible C-PACE Costs and Unit Costs only reflect upfront costs (i.e., costs before incentives or tax credits for energy efficiency improvements).
3C-PACE ADMIN: Emissions coefficients past the 2030-2034 compliance period will be determined by the City at a later date. Penalties for 2035 and beyond are estimated based on values the City has already published for the prior compliance period and are highly variable and likely to change.
Note on B38: C-PACE Admin: Refers to 'other savings' (e.g., O&M savings) included in Savings Analysis Tab. Does not include LL97 Savings from avoided compliance costs. Also does not include social cost value of carbon.
Note on B46: C-PACE Admin: Does not include social cost value of carbon

## 2 TIPLA Summary
Summary Table for Truth In PACE Lending Acknowledgment (TIPLA) Form
All cells are locked.
ESTIMATED ENERGY AND COST SAVINGS
| Baseline (Code) Project | Proposed Project | Savings | % Savings Over Baseline
Est. Annual Energy Consumption (kBtu) | 0 | 0 | 0
Est. Annual Energy Cost ($) | 0 | 0 | 0
Projected Financial Savings
$ Savings
Projected Annual Savings (energy cost savings and additional financial benefits) |  |  |  | 0
Projected Annual Savings 2024-2029 (also including avoided fines under LL97)1 |  |  |  | 0
Projected Annual Savings 2030-2034 (also including avoided fines under LL97) |  |  |  | 0
Projected Annual Savings 2035-2039 (also including avoided fines under LL97) |  |  |  | 0
Projected Annual Savings 2040-2049 (also including avoided fines under LL97) |  |  |  | 0
1 C-PACE ADMIN: Emissions coefficients past the 2030-2034 compliance period will be determined by the City at a later date. Penalties for 2035 and beyond are estimated based on values the City has already published for the prior compliance period and are highly variable and likely to change.

## 3 Construction Scope
Please fill out all applicable fields as indicated (white).1 Grey cells are locked when feasible and should not be edited.
Is the building is designed so that it meets the NYC Low Carbon Building standard? |  |  | Provide compliance analysis and back up demonstrating building meets the requirements
Total Project Cost
Total Eligible C-PACE Costs |  | 0
C-PACE Measures % of Total Project Cost |  | #DIV/0!
Max Eligible C-PACE Loan % |  | 30%
New Construction Maximum Loan Term (yrs) |  | 25
Design permit approval date or anticipated date:
Estimated Construction Completion Year
Construction Scope Measure |  | Measure Type | Prequalified Low Carbon Building System | Improvement | Reference to measure in Energy Audit | Prequalified Renewable Energy System | Reference to Feasibility Study | Location in Building | Total Capacity | Unit of Capacity | Quantity | Unit of Measure | Unit Cost | Total Cost 2, 3
Describe as closely as possiblt to how it appears in the construction bid |  | Choose one Guidance: When a measure is selected, required user-input fields will appear in white, while fields that are not required will appear in grey. Note on Adders below4 | If applicable, choose one | If applicable, choose one | Measure number, name, or description | If applicable, choose one |  | Choose one | Specify size or capacity of measure or system | Specify unit | Number for cost per unit formula | Choose one
1 | [13 empty] | 0
2 | [13 empty] | 0
3 | [13 empty] | 0
4 | [13 empty] | 0
5 | [13 empty] | 0
6 | [13 empty] | 0
7 | [13 empty] | 0
8 | [13 empty] | 0
9 | [13 empty] | 0
10 | [13 empty] | 0
11 | [13 empty] | 0
12 | [13 empty] | 0
13 | [13 empty] | 0
14 | [13 empty] | 0
15 | [13 empty] | 0
16 | [13 empty] | 0
17 | [13 empty] | 0
18 | [13 empty] | 0
19 | [13 empty] | 0
20 | [13 empty] | 0
| Totals | - | - | - | - | - | - | - | - | - | - | - | - | 0
1 C-PACE ADMIN: Please refer to the PACE Program Guidelines and Technical Guidance Supplement for the definitions of “Low Carbon Building” and “Total Project Costs”, as well as more guidance on the completing the Technical Certification Workbook.
2 C-PACE ADMIN: Ancillary Measures for New Construction may include, per NYSERDA guidance: Ancillary improvements also include system components for improved systems for existing buildings, or new systems for new construction required for energy recovery, ventilation, or to heat and cool a building, such as ducts, and electrical infrastructure work needed for building electrification. Costs for ancillary measures may be included in Measure Cost. See the state guidance document and the NYC program Technical Guidance Supplement for more details.
3 C-PACE ADMIN: Eligible Soft Costs may include, but are not limited to NYSERDA recognized energy audits and other pre-development work, such as improvement design work,and may be included in the Measure Cost for PACE eligible measures provided that the proposed improvement(s) would comply with the technical standards set forth in these guidelines. Costs for Eligible Soft Costs may be included in Total Project Costs.
Links to NYC and NYSERDA reference documents' landing pages:
| NYC Acclerator C-PACE landing page: | https://accelerator.nyc/resources/finance/PACE
| NYSERDA C-PACE landing page: | https://www.nyserda.ny.gov/All-Programs/Commercial-Property-Assessed-Clean-Energy-PACE-Financing-Resources
Note on B9: C-PACE ADMIN: Per guidance, this value must be less than or equal to the Max Eligible C-PACE Loan %
Note on B11: C-PACE ADMIN: Per Technical Supplement
Note on K16: C-PACE ADMIN: If no capacity put "N/A"
Note on O16: C-PACE ADMIN: Unit cost should reflect upfront costs (i.e., costs before incentives or tax credits for energy efficiency improvements.
Note on P16: C-PACE ADMIN: Costs should be disaggregated by construction division per NYSERDA CBR guidance

## 4 Savings Analysis
Please fill out all applicable fields as indicated (white). Grey cells are locked.
[6 empty] | 2024 - 2029 |  | 2030 - 2034 |  | 2035-20391 |  | 2040 - 20491 |  |  | Proposed Usage
Fuel Type |  | Unit | Annual Consumption | Utility Blended Rate | Annual Consumption | LL97 Emissions Coefficient | Annual Emissions | LL97 Emissions Coefficient | Annual Emissions | LL97 Emissions Coefficient | Annual Emissions | LL97 Emissions Coefficient | Annual Emissions |  | Fuel Type | Unit | Annual Consumption | Annual Consumption | % Savings over Baseline
|  |  | Baseline | $/unit | kbtu | tCO2e/kWh or /kbtu | tCO2e |  | tCO2e |  | tCO2e |  | tCO2e |  |  |  | Proposed | kbtu
Electricity |  | kWh |  |  | 0 | 0.00028896 | 0 | 0.000145 | 0 | 0.000145 | 0 | 0.000145 | 0 |  | Electricity | kWh | 0 | 0
Natural Gas |  | Therms |  |  | 0 | 5.311e-05 | 0 | 5.311e-05 | 0 | 5.311e-05 | 0 | 5.311e-05 | 0 |  | Natural Gas | Therms | 0 | 0
#2 Fuel Oil |  | gal |  |  | 0 | 7.421e-05 | 0 | 7.421e-05 | 0 | 7.421e-05 | 0 | 7.421e-05 | 0 |  | #2 Fuel Oil | gal | 0 | 0
#4 Fuel Oil |  | gal |  |  | 0 | 7.529e-05 | 0 | 7.529e-05 | 0 | 7.529e-05 | 0 | 7.529e-05 | 0 |  | #4 Fuel Oil | gal | 0 | 0
District Steam |  | Mlbs |  |  | 0 | 4.493e-05 | 0 | 4.32e-05 | 0 | 4.32e-05 | 0 | 4.32e-05 | 0 |  | District Steam | Mlbs | 0 | 0
Totals |  |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | Totals |  |  | 0 | #DIV/0!
Totals after Annual Projected Savings |  |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
NYCECC Code Used for Baseline
Annual Projected Savings Note: renewable energy systems’ electric or thermal generation should be included as savings
Whole Building Energy Savings as Compared to Energy Code Baseline | [5 empty] | Total Savings |  | Electricity | Natural Gas | #2 Fuel Oil | #4 Fuel Oil | District Steam | Total Projected Energy Savings | 2024-2029 Projected Emissions Savings | 2030-2034 Projected Emissions Savings | 2035-2039 Projected Emissions Savings | 2040-2049 Projected Emissions Savings | Projected Energy Cost Savings | Other Annual Savings2 | Other Savings Documentation
[6 empty] | $/year |  | kWh | Therms | gal | gal | Mlbs | kbtu | tCO2e |  |  |  | $ | $ | File name
Include total whole-buildings savings and solar generation here regardless of individual measure savings listed below | [5 empty] | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
Annual Projected Savings Note: renewable energy systems’ electric or thermal generation should be included as savings
Construction Scope Measure Type |  |  | Assigned Measure Description |  | Total Cost | Total Savings | Simple Payback Period | Electricity | Natural Gas | #2 Fuel Oil | #4 Fuel Oil | District Steam | Total Projected Energy Savings | 2024-2029 Projected Emissions Savings | 2030-2034 Projected Emissions Savings | 2035-2039 Projected Emissions Savings | 2040-2049 Projected Emissions Savings | Projected Energy Cost Savings | Other Annual Savings2 | Other Savings Documentation
From tab 3 |  |  | From tab 3 |  | From tab 3 | $/year | years | kWh | Therms | gal | gal | Mlbs | kbtu | tCO2e |  |  |  | $ | $ | File name
1 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
2 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
3 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
4 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
5 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
6 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
7 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
8 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
9 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
10 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
11 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
12 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
13 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
14 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
15 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
16 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
17 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
18 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
19 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
20 |  |  |  |  | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
| Totals |  |  |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 C-PACE ADMIN: Emissions coefficients past the 2030-2034 compliance period will be determined by the City at a later date.
2 C-PACE ADMIN: Savings for HVAC and DHW must be stated in their respective Low Carbon Building Measure line items.
Note on E4: C-PACE ADMIN: Baseline usage based on energy model for code baseline building. See Technical Supplement for additional information and notes.
Note on F4: C-PACE ADMIN: Blended rates for the proposed utility tariffs
Note on H4: C-PACE ADMIN: Electricity coefficient given as tons CO2e/kWh, whereas all other coefficients are given as /kbtu.
Note on S4: C-PACE ADMIN: Baseline usage based on energy model for code baseline building. See Technical Supplement for additional information and notes.
Note on J15: C-PACE ADMIN: Eligible Soft Costs and Ancillary Measures are not measures with eligible projected savings. Please note an error message will appear if trying to enter savings for the types of measures.
Note on J20: C-PACE ADMIN: Eligible Soft Costs and Ancillary Measures are not measures with eligible projected savings. Please note an error message will appear if trying to enter savings for the types of measures.

## 5 Local Law 97 Analysis
Is this building(s) exempted from Local Law 97 compliance or subject to an alternative compliance pathway? (Y/N) 2
Please fill out applicable fields in Column L as indicated (white). Grey cells are locked.
Local Law 97 - Summary of Projected Penalty Amounts and Savings1 | [5 empty] | Calculation of Local Law 97 Building Emissions Limits1,2 |  |  | 2024 - 2029 |  | 2030 - 2034 |  | 2035-2039 |  | 2040 - 2049
|  | Compliance Period |  |  |  | ESPM Property Type3 |  | Gross Floor Area | Annual Emissions Intensity Limit | Annual Building Emissions Limit | Annual Emissions Intensity Limit | Annual Building Emissions Limit | Annual Emissions Intensity Limit | Annual Building Emissions Limit | Annual Emissions Intensity Limit | Annual Building Emissions Limit
| Units | 2024 - 2029 | 2030 - 2034 | 2035-2039 | 2040 - 2049 |  |  | Square Feet (sf) | tCO2e/sf | tCO2e | tCO2e/sf | tCO2e | tCO2e/sf | tCO2e | tCO2e/sf | tCO2e
Building Emissions Limit | metric tons of CO2e | N/A | N/A | N/A | N/A |  | Adult Education |  | 0.00758 | 0 | 0.0035655 | 0 | 0.0026741 | 0 | 0.0017828 | 0
Penalty Rate for Emissions Greater than Limit | $/metric tons of CO2e | 0 | 0 | 0 | 0 |  | Ambulatory Surgical Center |  | 0.01181 | 0 | 0.0089806 | 0 | 0.0067355 | 0 | 0.0044903 | 0
Baseline Building | [6 empty] | Automobile Dealership |  | 0.00675 | 0 | 0.0028241 | 0 | 0.0021181 | 0 | 0.001412 | 0
Existing Annual Building Emissions | metric tons of CO2e | 0 | 0 | 0 | 0 |  | Bank Branch |  | 0.00987 | 0 | 0.0040362 | 0 | 0.0030271 | 0 | 0.0020181 | 0
Existing Annual Building Emissions Intensity | metric tons of CO2e/sf | N/A Below 25,000 Sf | N/A Below 25,000 Sf | N/A Below 25,000 Sf | N/A Below 25,000 Sf |  | Bowling Alley |  | 0.00574 | 0 | 0.0031038 | 0 | 0.0023279 | 0 | 0.0015519 | 0
Existing Building - Amount in Excess of Limit | metric tons of CO2e | [5 empty] | College/University |  | 0.00987 | 0 | 0.0020997 | 0 | 0.0012363 | 0 | 0.00018082 | 0
Existing Building - Projected Annual Penalty | $ | [5 empty] | Convenience Store without Gas Station |  | 0.00675 | 0 | 0.00354 | 0 | 0.002655 | 0 | 0.00177 | 0
Proposed Building (estimated, post-completion) | [6 empty] | Courthouse |  | 0.00426 | 0 | 0.0014805 | 0 | 0.0011104 | 0 | 0.00074027 | 0
Updated Building Annual Building Emissions | metric tons of CO2e | 0 | 0 | 0 | 0 |  | Data Center |  | 0.02381 | 0 | 0.014791 | 0 | 0.011093 | 0 | 0.0073956 | 0
Updated Building - Amount in Excess of Limit | metric tons of CO2e | [5 empty] | Distribution Center |  | 0.00574 | 0 | 0.0009916 | 0 | 0.00054964 | 0 | 0.00012357 | 0
Updated Building - Projected Annual Penalty (incl. savings from prequal. measures) | $ | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | Enclosed Mall |  | 0.01074 | 0 | 0.0039838 | 0 | 0.0029879 | 0 | 0.0019919 | 0
Annual Projected LL97 Penalties Avoided | $ | [5 empty] | Financial Office |  | 0.00846 | 0 | 0.003697 | 0 | 0.0027728 | 0 | 0.0018485 | 0
1 C-PACE ADMIN: Projected penalties are calculated based on the final rule published by the City on 12/20/22. However, emissions coefficients past the 2030-2034 compliance period will be determined by The City at a later date. Penalties for 2035 and beyond are estimated based on coefficient values the City has already published for the prior compliance period and are highly variable and likely to change. | [6 empty] | Fitness Center/Health Club/Gym |  | 0.00987 | 0 | 0.0039467 | 0 | 0.00296 | 0 | 0.0019734 | 0
[7 empty] | Food Sales |  | 0.01181 | 0 | 0.0052089 | 0 | 0.0039067 | 0 | 0.0026044 | 0
[7 empty] | Food Service |  | 0.01181 | 0 | 0.0077494 | 0 | 0.0058121 | 0 | 0.0038747 | 0
2 C-PACE ADMIN: Per LL97, the term “covered building” means, as it appears in the records of the department of finance, (i) a building that exceeds 25,000 gross square feet or (ii) two or more buildings on the same tax lot that together exceed 50,000 gross square feet (9290 m2), or (iii) two or more buildings held in the condominium form of ownership that are governed by the same board of managers and that together exceed 50,000 gross square feet (9290 m2) | [6 empty] | Hospital (General Medical & Surgical) |  | 0.02381 | 0 | 0.0073352 | 0 | 0.004654 | 0 | 0.0029979 | 0
[7 empty] | Hotel |  | 0.00987 | 0 | 0.0038507 | 0 | 0.00264 | 0 | 0.0014658 | 0
[7 empty] | K-12 School |  | 0.00675 | 0 | 0.0022306 | 0 | 0.0014881 | 0 | 0.00080961 | 0
[7 empty] | Laboratory |  | 0.02381 | 0 | 0.02603 | 0 | 0.019522 | 0 | 0.013015 | 0
https://www1.nyc.gov/assets/buildings/local_laws/ll97of2019.pdf | [6 empty] | Library |  | 0.00675 | 0 | 0.0022184 | 0 | 0.0016638 | 0 | 0.0011092 | 0
3 C-PACE ADMIN: Energy Star Portfolio Manager property types: | [6 empty] | Lifestyle Center |  | 0.00846 | 0 | 0.0047059 | 0 | 0.0035294 | 0 | 0.0023529 | 0
https://www.energystar.gov/buildings/benchmark/understand_metrics/property_types | [6 empty] | Mailing Center/Post Office |  | 0.00426 | 0 | 0.0019804 | 0 | 0.0014853 | 0 | 0.00099022 | 0
[7 empty] | Manufacturing/Industrial Plant |  | 0.00758 | 0 | 0.001417 | 0 | 0.00097599 | 0 | 0.00050835 | 0
[7 empty] | Medical Office |  | 0.01074 | 0 | 0.0029128 | 0 | 0.0016836 | 0 | 0.00040785 | 0
[7 empty] | Movie Theater |  | 0.01181 | 0 | 0.0053953 | 0 | 0.0040465 | 0 | 0.0026976 | 0
[7 empty] | Multifamily Housing |  | 0.00675 | 0 | 0.0033466 | 0 | 0.0026922 | 0 | 0.0020527 | 0
[7 empty] | Museum |  | 0.01181 | 0 | 0.0053958 | 0 | 0.0040469 | 0 | 0.0026979 | 0
[7 empty] | Non-Refrigerated Warehouse |  | 0.00426 | 0 | 0.00088319 | 0 | 0.00056805 | 0 | 0.00016315 | 0
[7 empty] | Office |  | 0.00758 | 0 | 0.0026909 | 0 | 0.0016523 | 0 | 0.00058189 | 0
[7 empty] | Other - Education |  | 0.00846 | 0 | 0.002934 | 0 | 0.0018677 | 0 | 0.00083957 | 0
[7 empty] | Other - Entertainment/Public Assembly |  | 0.00987 | 0 | 0.0029567 | 0 | 0.0022501 | 0 | 0.0013556 | 0
[7 empty] | Other - Lodging/Residential |  | 0.00758 | 0 | 0.001902 | 0 | 0.0013291 | 0 | 0.00076209 | 0
[7 empty] | Other - Mall |  | 0.01074 | 0 | 0.0019282 | 0 | 0.0010064 | 0 | 6.7983e-05 | 0
[7 empty] | Other - Public Services |  | 0.00758 | 0 | 0.003808 | 0 | 0.002856 | 0 | 0.001904 | 0
[7 empty] | Other - Recreation |  | 0.00987 | 0 | 0.0044796 | 0 | 0.0033597 | 0 | 0.0022398 | 0
[7 empty] | Other - Restaurant/Bar |  | 0.02381 | 0 | 0.0085051 | 0 | 0.0063788 | 0 | 0.0042525 | 0
[7 empty] | Other - Services |  | 0.01074 | 0 | 0.0018234 | 0 | 0.0013675 | 0 | 0.00091169 | 0
[7 empty] | Other - Specialty Hospital |  | 0.02381 | 0 | 0.0063218 | 0 | 0.0047414 | 0 | 0.0031609 | 0
[7 empty] | Other - Technology/Science |  | 0.02381 | 0 | 0.010446 | 0 | 0.0078348 | 0 | 0.0052232 | 0
[7 empty] | Outpatient Rehabilitation/Physical Therapy |  | 0.01181 | 0 | 0.0060183 | 0 | 0.0045137 | 0 | 0.0030092 | 0
[7 empty] | Parking |  | 0.00426 | 0 | 0.00021442 | 0 | 0.00010494 | 0 | 0 | 0
[7 empty] | Performing Arts |  | 0.00846 | 0 | 0.0024725 | 0 | 0.0013993 | 0 | 0 | 0
[7 empty] | Personal Services (Health/Beauty, Dry Cleaning, etc.) |  | 0.00574 | 0 | 0.004843 | 0 | 0.0036323 | 0 | 0.0024215 | 0
[7 empty] | Pre-school/Daycare |  | 0.00675 | 0 | 0.0023629 | 0 | 0.0017722 | 0 | 0.0011814 | 0
[7 empty] | Refrigerated Warehouse |  | 0.00987 | 0 | 0.0028521 | 0 | 0.0021391 | 0 | 0.0014261 | 0
[7 empty] | Repair Services (Vehicle, Shoe, Locksmith, etc.) |  | 0.00426 | 0 | 0.0022107 | 0 | 0.001658 | 0 | 0.0011053 | 0
[7 empty] | Residence Hall/Dormitory |  | 0.00758 | 0 | 0.0024641 | 0 | 0.0013325 | 0 | 0.00052862 | 0
[7 empty] | Residential Care Facility |  | 0.01138 | 0 | 0.0048931 | 0 | 0.0040278 | 0 | 0.0022726 | 0
[7 empty] | Restaurant |  | 0.01181 | 0 | 0.0040384 | 0 | 0.0030288 | 0 | 0.0020192 | 0
[7 empty] | Retail Store |  | 0.00758 | 0 | 0.0021045 | 0 | 0.001216 | 0 | 0.00017604 | 0
[7 empty] | Self-Storage Facility |  | 0.00426 | 0 | 0.00061183 | 0 | 0.0004049 | 0 | 0.00013228 | 0
[7 empty] | Senior Care Community |  | 0.01138 | 0 | 0.0044101 | 0 | 0.0033364 | 0 | 0.0022779 | 0
[7 empty] | Social/Meeting Hall |  | 0.00987 | 0 | 0.0038331 | 0 | 0.0028748 | 0 | 0.0019166 | 0
[7 empty] | Strip Mall |  | 0.01181 | 0 | 0.0013618 | 0 | 0.00060049 | 0 | 3.8512e-05 | 0
[7 empty] | Supermarket/Grocery Store |  | 0.02381 | 0 | 0.0067552 | 0 | 0.0042561 | 0 | 0.00203 | 0
[7 empty] | Transportation Terminal/Station |  | 0.00426 | 0 | 0.00057167 | 0 | 0.00042875 | 0 | 0.00028583 | 0
[7 empty] | Urgent Care/Clinic/Other Outpatient |  | 0.01181 | 0 | 0.0057724 | 0 | 0.0043293 | 0 | 0.0028862 | 0
[7 empty] | Vocational School |  | 0.00574 | 0 | 0.0046131 | 0 | 0.0034598 | 0 | 0.0023066 | 0
[7 empty] | Wholesale Club/Supercenter |  | 0.01138 | 0 | 0.004265 | 0 | 0.0031987 | 0 | 0.0021325 | 0
[7 empty] | Worship Facility |  | 0.00574 | 0 | 0.0012306 | 0 | 0.00086692 | 0 | 0.00054931 | 0
[6 empty] | Totals |  | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0

## Backup
Measure type |  | Units |  | Building locations |  | Conversion Factors | Units | Conversion to Btu
Prequalified Low Carbon Building Measures for New Construction |  | ft |  | Basement/Cellar |  | Electricity | kWh | 3412.1416
Renewable Energy System - Prequalified for New Construction |  | ft2 |  | Common areas |  | Natural Gas | therms | 100000
Eligible Soft Costs |  | units |  | Front yard |  | #2 Fuel Oil | gallons of #2 | 138000
|  |  |  | Rear yard |  | #4 Fuel Oil | gallons of #4 | 146000
|  |  |  | Façade |  | District Steam | Mlbs of steam | 1194000
Roof
Whole Building
|  | yes/no |  | In-unit
Yes
No
HVAC_Systems | Domestic_Hot_Water_Systems | Building_Electric_Service_Upgrades | Building_Enclosure | Energy_Efficiency
Air-source heat pumps | Electric resistance | Electric service capacity required for all electric | Baseline building enclosure | Lighting more efficient than code
Ground-source heat pumps | Heat pump | All-electric back-up power | Better than code enclosure | Non-HVAC fan system more efficient than code
Water-source heat pumps with central boiler | Solar thermal |  |  | Non-HVAC pump system more efficient than code
Water-source heat pumps with central heat pumps |  |  |  | Process system more efficient than code or baseline
Central chiller and boiler hydronic system |  |  |  | Other energy efficiency better than code - please specify
Chiller and/or cooling tower and boiler with heat pumps (California Loop)
Electric resistance heating and direct expansion (DX) cooling
Boiler with direct expansion (DX) cooling
Solar thermal heating with direct expansion (DX) cooling
Modified DCAS Measures List
01 HVAC Systems | 02 Domestic Hot Water Systems | 03 Building Automation Systems | 04 Building Enclosure | 05 Chilled Water Hot Water And Steam Distribution Systems | 06 Chiller Plant | 07 Conveyance Systems | 08 Data Center | 09 Distributed Generation | 10 Electrical Peak Shaving Load Shifting | 11 Energy Distribution Systems | 12 Lighting | 13 Other Electric Motors And Drives | 14 HVAC | 15 Plug Loads | 16 Refrigeration | 18 Service Hot Water Systems | 20 Water And Sewer Conservation Systems | 19 Uncategorized
Air-source heat pumps | Electric resistance | Install advanced BMS or energy management system | Install or increase attic or knee wall insulation | Install wastewater heat recovery | Install chiller heat recovery | Add elevator regenerative drives | Replace server with virtual server or replace desktop with laptop | Repair distributed generation equipment | Install electric battery storage | Upgrade building's electrical service or capacity | Install daylight sensor and lighting control | Install VFD for distribution pump | Install air source heat pumps | Install software to control desktop computer power except critical applications | Replace refrigeration unit with higher efficiency refrigeration unit | Calibrate, relocate, or repair SHW temperature sensor | Implement water efficient irrigation
Ground-source heat pumps | Heat pump | Implement hot water reset based on outdoor air temperature | Install solar window shade | Install or increase insulation for non-pipe distribution components | Install waterside economizer | Upgrade elevator / escalator controls | Install separate cooling system for data center | Install cogeneration system | Install thermal energy storage | Rewire, adjust, repair interlocking or imbalance in electric distribution | Rewire fixtures or add dimming ballast to allow daylight control | Install VFD for HVAC fan | Install ground source heat pumps | Install plug load controls for convenience receptacles | Install controls for refrigeration system | Repair service hot water components | Install aerator for lavatory faucet or shower head
Water-source heat pumps with central boiler | Solar thermal | Install control for optimum start / pre-warm / pre-cool | Install low-e window film | Install control for steam pressure reducing valve station | Improve waterside economizer function | Upgrade elevator hydraulic systems | Replace computer room air conditioner with transfer air | Install fuel cell | Install load shedding capability | Install power factor correction device | Install bi-level lighting for egress or area with 24/7 use | Install VFD for cooling tower | Install water-source heat pumps | Install vending miser technology |  | Clean filtration water loop | Install motion activated lavatory faucet
Water-source heat pumps with central heat pumps |  | Install monitor for fuel oil level, oil pressure, or coolant level | Cover or remove window or through-wall air conditioners during heating season | Install feedback control for pressurized steam system | Install cooling tower to support conversion to water cooled HVAC package units | Upgrade elevator / escalator motor | Decommission or re-purpose servers | Install microturbine on district steam service | Reduce Peak demands caused by Air Conditioning and/or electric heating | Install power conditioning to improve power quality | Install occupancy / vacancy sensor and lighting control | Replace failed fan or pump VFD | Insulate duct | Replace appliances and computers with Energy Star models |  | Decrease SHW temperature | Install dual mode flushometer
Central chiller and boiler hydronic system |  | Install or replace thermostat (other than programmable radiator thermostat) | Install automatic damper in stairwell or elevator shaft | Replace or install thermostatic radiator valve/programmable radiator thermostat | Replace cooling tower with higher efficiency cooling tower | Repair elevator components | Optimize temperature set points in server rooms | Improve operating protocols or calibration for distributed generation systems |  | Consolidate electric meters | Calibrate, relocate, or repair lighting sensor or control | Repair motors/drives | Install enthalpy wheel |  |  | Install swimming pool cover to reduce vaporization | Install motion activated flushometer
Chiller and/or cooling tower and boiler with heat pumps (California Loop) |  | Install remote or tamper proof thermostat | Install vestibule, air lock, or revolving door | Replace steam pressure reducing valve | Calibrate, relocate, or repair chilled water temperature sensor |  | Upgrade server to higher efficiency server |  |  | Install uninterruptible power supply | Clean light fixtures, covers, and lamps | Clean motors/drives | Install heat pipe |  |  | Replace SHW mixing valve or circulating pump | Install self closing shower valves
Electric resistance heating and direct expansion (DX) cooling |  | Replace outside air sensor with local weather station data | Seal penetrations other than windows or doors | Replace steam radiator air vent (one-pipe system) | Install control to stage chillers |  |  |  |  | Upgrade electrical panel | Repair lighting and/or wiring | Replace pump or fan motor with premium efficiency motor | Install heat recovery from swimming pool air |  |  | Install heat pump water heater | Install pre-rinse valve
Boiler with direct expansion (DX) cooling |  | Upgrade zone controls | Weather seal and/or repair window or door | Install water temperature sensors and optimize controls | Install or replace chilled water temperature sensor |  |  |  |  | Upgrade transformer | Install light shelf or tubular daylighting device | Operate VFDs at maximum turndown, vary by season, time of day, and occupancy | Install run-around loop (liquid coupled heat exchanger) |  |  | Install control for service hot water heater | Repair leak in plumbing equipment
Solar thermal heating with direct expansion (DX) cooling |  | Replace CO2 sensor | Install or increase ceiling insulation | Replace steam controller | Install or replace meter for cooling tower make-up water |  |  |  |  | Replace electrical outlets | Install new exterior window or skylight opening | Adjust belt guard | Install ventilation heat or energy recovery |  |  | Install solar thermal water heating for service hot water | Perform a water audit
|  | Replace controls | Install or increase floor slab and/or foundation insulation | Upgrade heat exchanger controls | Install or replace chiller controller |  |  |  |  | Provide power to HVAC equipment | Install photocell or time clock control for exterior lighting | Adjust motor belt tension | Dehumidification with heat exchanger |  |  | Install solar thermal water heating for swimming pool
|  | Convert pneumatic control to direct digital control | Install or increase roof or soffit insulation | Install or increase heating or cooling system pipe insulation | Repair chiller plant components |  |  |  |  | Energy/PowerStation Modification | Install time clock control for interior lighting | Perform motor vibration analysis | Install dual-path electric system |  |  | Replace storage water heater with tankless electric water heater
|  | Adjust setpoints and setbacks for major system components | Install or increase wall insulation | Add recirculating pumps | Repair or clean cooling tower | [5 empty] | Delamp lighting fixtures in overlit areas | Reconnect motor | Install electrical desiccant system |  |  | Replace storage water heater with tankless gas water heater
|  | Adjust setpoints and setbacks for minor system components | Install reflective coating or green or blue roof | Repair distribution pipe or valve | Install or replace treatment or filtration system for chilled water plant | [5 empty] | Install task lighting to reduce dependence on general illumination | Balance motor phases | Improve airside economizer function |  |  | Install water pressure booster
|  | Increase zone temperature deadband | Install or replace exterior solar screens | Repair distribution pump or compressor, not including motor | Install variable primary cooling plant pump | [5 empty] | Replace diffusers | Replace motor starter and magnetic coils | Install airside economizer |  |  | Insulate service hot water piping
|  | Install VAV tracking for duct pressure reset | Install or increase foundation insulation | Repair or replace aquastat | Upgrade condenser water pump | [5 empty] | Install advanced lighting technology |  | Repair components to enable economizer operation |  |  | Replace or install water heater tank insulation
|  | Repair temperature or pressure reset function | Insulate thermal bridge | Repair feed water tank | Overhaul or recondition compressor | [5 empty] | Replace lamps with LED lamps |  | Add enthalpy economizer |  |  | Replace service hot water piping
|  | Verify simultaneous heating and cooling does not occur unless intended | Install rapid roll-up garage door | Repair condensate system | Install VSD on electric centrifugal chillers | [5 empty] | Replace lighting fixtures with LED fixtures |  | Calibrate, relocate, or repair HVAC temperature sensor |  |  | Replace coil for tankless water heater
|  | Check monitoring sensors for proper calibration | Replace exterior door | Clean or repair fan coil unit or fin tube radiator | Install separate base load cooling system | [5 empty] | Replace street lights with LED fixtures |  | Install or replace HVAC differential pressure sensor |  |  | Install separate service hot water heater
|  | Restore VFD operation | Replace glazing with high performance glazing | Repair or clean heat exchanger | Replace electric chiller with absorption chiller | [5 empty] | Replace with T-5 fixtures |  | Install or replace HVAC temperature sensor |  |  | Replace storage water heater with higher efficiency storage water heater
|  | Restore time of day operation | Replace window assembly with high performance window assembly | Clean water distribution loop | Replace electric chiller with higher efficiency electric chiller | [5 empty] | Replace with T-8 fixtures |  | Install or replace HVAC timer for schedule control |  |  | Optimize domestic water pump
|  | Calibrate thermostats and/or control valves |  | Install or upgrade master steam system venting | Replace absorption chiller with electric chiller | [5 empty] | Replace with CFL fixtures |  | Install economizer controls |  |  | Adjust domestic hot water temperatures
|  | Develop manual override protocol |  | Install steam condensate heat recovery | Implement chilled water reset control strategy | [5 empty] | Replace exit signs with LED exit signs |  | Replace fan controller |  |  | Use service hot water heater year-round
|  | Implement outdoor air reset |  | Install radiator covers | Implement condenser water reset control strategy | [5 empty] | Install high efficiency exterior site, facade, security or parking lighting |  | Install wireless HVAC controls |  |  | Restore automatic operation of domestic water components
|  | Optimize scheduling control |  | Implement steam trap maintenance program | Implement cooling tower load-sharing | [5 empty] | Optimize or calibrate lighting controls |  | Install seasonal control switch |  |  | Adjust pool water temperature
|  | Shutdown uneeded equipment |  | Repair and/or replace steam trap | Optimize condenser water controls | [5 empty] | Implement overnight lighting schedule |  | Upgrade HVAC unit controls |  |  | Optimize service hot water heater opertation
|  | Restore controls to automatic operation |  | Replace steam trap with orifice plate (two-pipe system) | Optimize cooling tower chemical treatment program | [5 empty] | Adjust vacancy control settings |  | Testing, adjusting, and balancing of ventilation / air distribution system |  |  | Install gas fired SHW system
|  | Optimize location of global sensor |  | Replace condensate return system | Optimize head pressure control for condenser fans | [5 empty] | Optimize lighting levels |  | Clean duct, vent, grill, coil, or valve in air distribution system
|  | Control cooling to NYC cooling guidelines |  | Replace vacuum steam condensate return pump | Optimize sequencing for multiple chillers | [5 empty] | Replace lighting control system |  | Repair fan belt, pulley, or bearings
|  | Legacy Reset Pressure/Temperature/Humidity Set points on System components |  | Vent flash steam from condensate return unit | Reoptimize chilled water temperature reset | [7 empty] | Replace air filter
|  | Troubleshoot and repair communication with BMS/EMS/EMCS |  | Separate service hot water from heating system | Reoptimize condenser temperature reset | [7 empty] | Clean and repair air filters
|  | Repair failed controls |  | Testing, adjusting, and balancing of chilled / hot water distribution system | Modulate cooling tower fan speed | [7 empty] | Repair AHU
|  |  |  | Adjust aquastat setpoint | Add engine driven chiller | [7 empty] | Repair AHU controls
|  |  |  | Restore steam, chilled / hot / condenser water valve control | [8 empty] | Repair HV unit
|  |  |  | Adjust mixing valve | [8 empty] | Repair outside air damper and/or actuator
|  |  |  | Adjust pressure drop | [8 empty] | Repair RTU
|  |  |  | Optimize operating differential to avoid short cycling | [8 empty] | Repair flexible connection
|  |  |  | Reduce chilled water pump flow | [8 empty] | Repair or clean fan
|  |  |  | Adjust pump control valves | [8 empty] | Repair convector
|  |  |  | Insulate receiver / expansion / condensate tank | [8 empty] | Repair zone distribution components
|  |  |  | Replace expansion / receiver / condensate tank | [8 empty] | Repair or restore HV unit controls
|  |  |  | Install freeze protection for piping | [8 empty] | Repair or clean fire damper
|  |  |  | Perform chilled water pump survey | [8 empty] | Replace failed HVAC sensors
|  |  |  | Perform steam trap survey | [8 empty] | Convert dual duct, constant volume, or multi zone system to VAV system
|  |  |  | Replace hot water or chilled water pumps | [8 empty] | Replace heating and/or cooling with air to air heat pump
|  |  |  | Replace drip pans | [8 empty] | Install split unit
|  |  |  | Install additional chilled water system | [8 empty] | Install demand control for kitchen exhaust hood
|  |  |  | Upgrade, install or replace TRVs, thermostats, CVs, actuators, dampers | [8 empty] | Install demand control with Cox/NOx/SOx or occupancy sensor
Install passive solar heating technologies
Install solar ventilation preheating system
Install thermal destratification fan
Replace heating and/or cooling with air to water or water to water heat pump
Install control for window or through-wall air conditioning units
Recover, recharge, or convert refrigerant
Replace window or through wall air conditioner with higher efficiency unit
Optimize control for window or through-wall air conditioning units
Provide refrigerant additive
Remove unused damper or guide vane
Replace radiator, fan coil, convector, or heating unit
Install coil filters
Implement HVAC coil coating
Install air curtain
Replace burner in furnace
Replace furnace
Isolate steam coil on supply fans
Install coil bypass duct, damper, and control for shoulder season operation
Install control for night purge cycle
Install control for static pressure
Install control for ventilation supply or exhaust fan
Install dedicated outdoor air system
Install high efficiency air filter
Install high plume dilution (Strobic) exhaust fan for process exhaust
Install or replace outside air damper control and actuator
Install control to open windows when outdoor conditions allow; interlock w/ HVAC
Install separate supply ducts to hot deck and cold deck
Adjust ventilation rate
Replace VAV box
Upgrade or decommission laboratory fume hood
Install spill duct
Restablish use of heating ventilators
Reshape and/or patch ductwork
Replace flexible connection
Restore operation of mechanical ventilation equipment
Replace heating and ventilation unit
Replace fan
Repair refrigerant leak
Seal duct
Replace damper and/or actuator for HVAC system
Install ground source heat pump
Replace air handling unit heating or cooling coil
Replace air handling unit with higher efficiency air handling unit
Replace existing belt drive with synchronous belt drive
Replace V-Belts
Replace fan belts / bearings
Replace air handling unit fan
Convert air cooled package unit to water cooled package unit with cooling tower
Replace RTU, PTAC, or DX unit with higher efficiency packaged unit
Replace or repair air compressor and components
Install air dryer with compressor system
Calibrate, relocate, or repair differential pressure sensor
Close outside air dampers during start-up
Implement correct minimum outside air damper position
Implement occupancy scheduling for fans
Incorporate optimal start/stop strategy
Optimize hot deck / cold deck air handler controls
Reoptimize supply air temperature reset
Repair VFD control loops for pumps and fans
Verify and optimize sequence of operation
Implement filter maintenance protocol
Restore outside air damper controls
Enable economizer control
Implement supply air temperature reset
Implement variable air control for VAV systems
Implement/optimize HVAC schedule on existing system
Implement RTU maintenance program
Implement proper maintenance procedure for machine bearings
Implement air leak maintenance program
Implement fan belt maintenance program
Insulate HV unit
Install variable refrigerant flow system
HVAC improvements
Optimize components of existing roof top unit(s) for energy efficiency
Implement chemical treatment for various HVAC systems (non-boiler)
Renewable energy systems
Install solar thermal system
Install solar photovoltaic system
Install wind system
Install anaerobic digester gas (ADG)
Install fuel cell
Install energy storage